3GPP TSG-RAN4 Meeting #107 	R4-2309468

# Incheon, Korea, 22th – 26th May 2023

Agenda item:	8.17.4

Source:	Keysight Technologies

Title:	On FR2 CE MU

Document for:	Approval

# Introduction

This contribution intends to address the preliminary FR2 CE MU element and conclude the preliminary MU budget for FR2 in RAN4.

# Discussion

One of the last remaining MU elements to be defined in the preliminary MU budget for FR2 MIMO OTA test cases in RAN4, see Clause B.2.5 of [1],  is the MU element ‘Channel Emulator.’

After internal review, it is proposed to define the FR2 MU element to match that of FR1 as the same channel emulator platform is commonly used for FR1 and FR2, i.e., re-use the following definition and values from Clause A.2.5 of [1]

UID; Description of uncertainty contribution; Example value (410MHz<f≤3GHz); Example value (3GHz <f≤7.125GHz); Distribution of the probability; Std Uncertainty (410MHz<f≤3GHz) [dB]; Std Uncertainty (3GHz <f≤7.125GHz) [dB]. Stage 2: DUT measurement. 5; Channel Emulator - absolute output power - output signal stability - output stability with temperature; 1.5dB 0.5dB 0.4dB; 1.5dB 0.5dB 0.4dB; Actual (normal- power; rect-stability); 0.84; 0.84.

Proposal 1: Re-use the FR1 Channel Emulator definition and MU values for FR2

# Conclusion

The following observations and conclusions were made in this contribution.

Proposal 1: Re-use the FR1 Channel Emulator definition and MU values for FR2

# References

- TS 38.151, Multiple Input Multiple Output (MIMO) Over-the-Air (OTA) performance requirements