3GPP TSG-RAN WG4 Meeting # 109	R4-2320061
Chicago, US, November 13 – 17, 2023

Agenda item:	8.16.3

Source:	CAICT

Title:	TP to TR 38.761 on channel model validation for n28

Document for:	Discussion

- Introduction

At RAN#101 plenary, the revised WID [1] is approved and an internal TR38.761 is allocated to capture measurement of MIMO OTA performance for UEs. Several companies/labs successfully performed FR2 MIMO OTA channel model validation for band n28[3]-[9]. In this contribution, we provide a TP to record the channel model validation results from all the labs for band n28.

2	References

- RP-232679, Revised WID: Enhancement of Multiple Input Multiple Output (MIMO) Over-the-Air (OTA) test methodology and requirements for NR UEs, CAICT, 3GPP RAN#101

- 3GPP TR 38.761 v 0.1.0

- R4-2312538, FR1 MIMO OTA channel model validation results for band n28, CAICT

- R4-2312356, CMCC&BUPT joint lab FR1 channel validation results for n1, n5, n8 and n28 band, CMCC, BUPT

- R4-2307506, Channel validation results at low bands, MediaTek Inc.

- R4-2311064, Power validation results at low bands, MediaTek Inc.

- R4-2312899, Channel model validation results for Band n28, Xiaomi

- R4-2311754, On FR1 MIMO OTA Channel Model Validation, Apple

- R4-2312925, FR1 n28 channel model validation, OPPO

3	Text Proposal to TR 38.761

--------------Start of text proposal 1-------------

#### 6.2.2.1 Power Delay Profile (PDP)

<Skip unnecessary parts>

The PDP measurement results of UMi CDL-C for band n28 are presented in Figures 6.2.2.1-6~11.

Figure 6.2.2.1-6: Lab 1: PDP measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.1-7: Lab 2: PDP measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.1-8: Lab 4: PDP measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.1-9: Lab 5: PDP measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.1-10: Lab 6: PDP measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.1-11: Lab 7: PDP measurement results for CDL-C UMi at Band n28, beam 1

#### 6.2.2.2 Doppler/Temporal correlation

<Skip unnecessary parts>

The Doppler measurement results of UMi CDL-C for band n28 are presented in Figures 6.2.2.2-7~12.

Figure 6.2.2.2-7: Lab 1: Doppler measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.2-8: Lab 2: Doppler measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.2-9: Lab 4: Doppler measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.2-10: Lab 5: Doppler measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.2-11: Lab 6: Doppler measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.2-12: Lab 7: Doppler measurement results for CDL-C UMi at Band n28, beam 1

#### 6.2.2.3 Spatial correlation

<Skip unnecessary parts>

The Spatial correlation measurement results of UMi CDL-C for band n28 are presented in Figures 6.2.2.3-7~12.

Figure 6.2.2.3-7: Lab 1: Spatial correlation measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.3-8: Lab 2: Spatial correlation measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.3-9: Lab 4: Spatial correlation measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.3-10: Lab 5: Spatial correlation measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.3-11: Lab 6: Spatial correlation measurement results for CDL-C UMi at Band n28, beam 1

Figure 6.2.2.3-12: Lab 7: Spatial correlation measurement results for CDL-C UMi at Band n28, beam 1

#### 6.2.2.4 Cross-polarization

<Skip unnecessary parts>

The Cross-polarization measurement results of UMi CDL-C for band n428 are presented in Table 6.2.2.4-7~12.

Table 6.2.2.4-7: Lab 1: Cross-polarization verification results for CDL-C UMi, Band n28

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 722 MHz | Beam 1 | Input 1+2: V/H = 0 dB | V/H = -0.08 dB | ±1 dB |

Table 6.2.2.4-8: Lab 2: Cross-polarization verification results for CDL-C UMi, Band n28

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 722 MHz | Beam 1 | Input 1+2: V/H = 0 dB | V/H = 0.15 dB | ±1 dB |

Table 6.2.2.4-9: Lab 4: Cross-polarization verification results for CDL-C UMi, Band n28

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 722 MHz | Beam 1 | Input 1+2: V/H = 0 dB | V/H = -0.14 dB | ±1 dB |

Table 6.2.2.4-10: Lab 5: Cross-polarization verification results for CDL-C UMi, Band n28

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 722 MHz | Beam 1 | Input 1+2: V/H = 0 dB | V/H = -0.09 dB | ±1 dB |

Table 6.2.2.4-11: Lab 6: Cross-polarization verification results for CDL-C UMi, Band n28

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 722 MHz | Beam 1 | Input 1+2: V/H = 0 dB | V/H = 0.59 dB | ±1 dB |

Table 6.2.2.4-12: Lab 7: Cross-polarization verification results for CDL-C UMi, Band n28

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 722 MHz | Beam 1 | Input 1+2: V/H = 0 dB | V/H = -0.71 dB | ±1 dB |

#### 6.2.2.5 Power validation

<Skip unnecessary parts>

The Power validation results of UMi CDL-C for band n28 are presented in Table 6.2.2.5-4~8.

Table 6.2.2.5-4: Lab 1: Power validation results for CDL-C UMi, Band n28 (Unit: dBm/15kHz)

| Frequency | Measured V power | Measured H power | Measured total power | Target power | Delta | Pass/fail limit |
| --- | --- | --- | --- | --- | --- | --- |
| 780.5 MHz | -83.1288 | -82.9819 | -80.0444 | -80 | -0.0444 | ±1.5 dB |

Table 6.2.2.5-5: Lab 4: Power validation results for CDL-C UMi, Band n28 (Unit: dBm/15kHz)

| Frequency | Measured power | Target power | Delta | Pass/fail limit |
| --- | --- | --- | --- | --- |
| 780.5 MHz | -70.6609811 | -70.6 | -0.06098109 | ±1.5 dB |
|  | -80.5325084 | -80.6 | 0.067491565 |  |
|  | -90.116428 | -90.6 | 0.483572032 |  |

Table 6.2.2.5-6: Lab 5: Power validation results for CDL-C UMi, Band n28 (Unit: dBm/15kHz)

| Frequency | Measured power | Target power | Delta | Pass/fail limit |
| --- | --- | --- | --- | --- |
| 780.5 MHz | NA | NA | 1.3 | ±1.5 dB |

Table 6.2.2.5-7: Lab 6: Power validation results for CDL-C UMi, Band n28 (Unit: dBm/15kHz)

| Frequency | Measured power | Target power | Delta | Pass/fail limit |
| --- | --- | --- | --- | --- |
| 780.5 MHz | -49.64 | -50.00 | 0.36 | ±1.5 dB |

Table 6.2.2.5-8: Lab 7: Power validation results for CDL-C UMi, Band n28 (Unit: dBm/15kHz)

| Frequency | Measured power | Target power | Delta | Pass/fail limit |
| --- | --- | --- | --- | --- |
| 780.5 MHz | NA | NA | 0.0002 | ±1.5 dB |

--------------End of text proposal 1 -------------