3GPP RAN4 WG Meeting #91	R4-1907143
Reno, USA, May 13-17, 2019

Agenda item:	10.2.3.1

Source:	Apple Inc.

Title:	Verification of emulated DL signal quality for FR1 MIMO OTA

Document for:	Discussion

# Introduction

The Study Item on NR MIMO OTA was approved in RAN #80 with the following objective specific to FR1 [1]:

-	In general

…

-	Maintaining alignment with the corresponding baseband demodulation test case parameters in [TS38.101-4] as much as possible

-	Using the channel models defined in [TR38.901] as well as the associated aspects related to channel modeling in [TR38.810] as the basis of the emulated propagation environment

-	For setups intended for measurements of UE characteristics in non-standalone (NSA) mode, an LTE link antenna setup is used to configure the NR link

-	Define the applicable test methodology verification procedures

-	Develop the preliminary uncertainty assessment for the methodology

-	For any alternate method(s) identified, verify equivalence per agreed criteria and quantify impact on the measurement uncertainty assessment

-    Develop channel model and emulated environment validation procedure to ensure correct implementation

-	For testing methodology in FR1

-	Use the reference MPAC MIMO OTA methodology and the harmonized RTS methodology in TR37.977, extend the applicability of the LTE MIMO OTA methodology to NR FR1

-	Use the performance metric based on the LTE MIMO OTA performance metrics in TS37.144 and CTIA MIMO OTA Test Plan as a starting point such that

-	The DUT configuration, DUT positions (FS DMP, FS DML, FS DMSU), and DUT azimuth positions should be reused where possible

-	Support up to 100 MHz CBW

-	Support UE operating frequency in the range of 450 MHz – 6000 MHz

With TR38.827 as the repository of key agreements [2], a number of intermediate agreements have guided progress on the FR1 MIMO OTA methodology development.

In an effort to pursue alignment with the baseband demodulation test case parameters in TS38.101-4 [3], it is useful to consider the applicability of agreements on RF impairment modeling which are used in deriving the FR1 demodulation requirements to FR1 MIMO OTA test system capabilities and verification.  The agreement on RF impairment modeling was captured in [4]:

RF impairments modeling for FR1

-	Use the following RF impairments models to define the minimum UE performance requirements for FR1

-	TX EVM = 6% for QPSK/16QAM/64QAM

-	TX EVM = 3% for 256QAM

-	Test equipment shall support TX EVM level not worse than the one used to define the minimum performance requirements

This contribution proposes a procedure for the verification of emulated DL signal quality for FR1 MIMO OTA.

# Discussion

Considering that the FR1 MIMO OTA methodology is an extension of LTE MIMO OTA, according to the objectives identified in the SID [1], it is useful to apply some common understanding of the measurement setup from LTE.

In the context of the multi-probe anechoic chamber (MPAC) solution for MIMO OTA, the emulated signal in the test zone is radiated by a number of probes arranged in a ring around the DUT, as shown in Figure 1 below.

Figure 1: MPAC system level block diagram (from [5])

The downlink path from the system simulator (SS) through the MIMO channel emulator to each antenna in the chamber can be characterized in terms of functional components, as shown in Figure 2 below.

Figure 2: Signal path in an MPAC system

At least in the LTE MIMO OTA case, the MPAC system consists of 8 dual-polarized antennas arranged in a ring around the DUT, corresponding to 16 downlink paths.  The decision on the number of antennas and their arrangement is still open in the FR1 MIMO OTA scope.

We next consider the DL signal quality, such as EVM, over the signal path shown in Figure 2.

Observation 1: It is our understanding that the output of the gNB emulator is verified by the manufacturer to achieve EVM levels that are aligned with demodulation requirement assumptions in [4].

At the input to the channel emulator, the down-conversion step requires the gNB Tx output to be scaled to avoid saturating the down-conversion LNA.  The gNB Tx output further needs to be scaled to align the dynamic range of the modulated signal with the dynamic range of the ADC to avoid clipping.  Failure to apply this scaling correctly results in degraded signal quality at the fading emulation step (in baseband).

Observation 2: The RF interface between the gNB emulator and the fading emulator imposes scaling requirements on the gNB Tx output and may lead to the degradation of the emulated signal quality.

The faded signal is scaled further to align the dynamic range of the modulated and faded signal with the dynamic range of the DAC to avoid clipping and saturation by the up-conversion step.  Given a particular dynamic range of the modulated gNB Tx waveform, the dynamic range of the faded waveform is always increased by the crest factor of the fading model.

Observation 3: The expansion of the dynamic range of the faded and modulated gNB Tx waveform imposes further scaling requirements on the gNB Tx output.

The input signal to the switched PA bank which drives the MPAC chamber antennas is scaled to avoid saturation, and the PAs themselves contribute noise figure to the signal radiated to the test zone.

Observation 4: Due to a trade-off between scaling the faded Tx waveform at the input to the switched PA bank to avoid saturation and maximizing the SNR in test zone, the switched PA bank can contribute to DL signal EVM degradation.

Based on these observations, a motivation emerges to verify the EVM of the signal radiated into the test zone.  Because the EVM of a faded signal cannot be defined or measured, a pass-through mode in the fader is needed to verify the EVM under the same waveform scaling conditions that are used when fading emulation is enabled.

Proposal 1: In order to ensure that the quality of the emulated signal in the test zone is aligned with the demodulation requirement assumptions, a radiated verification of the DL signal EVM is needed.

Proposal 2: Because the EVM of a faded signal cannot be defined or measured, a pass-through mode in the fader is needed to verify the EVM under the same waveform scaling conditions that are used when fading emulation is enabled.

One open issue for which input from the test equipment vendors is needed is whether the phase relationship between the gNB output signals can impact the EVM of the emulated signal in the test zone and, if yes, whether gNB output phase calibration procedures need to be included in the MIMO OTA test procedure.

# Conclusions

Based on the analysis provided in this paper, the following observations and proposals can be made:

Observation 1: It is our understanding that the output of the gNB emulator is verified by the manufacturer to achieve EVM levels that are aligned with demodulation requirement assumptions in [4].

Observation 2: The RF interface between the gNB emulator and the fading emulator imposes scaling requirements on the gNB Tx output and may lead to the degradation of the emulated signal quality.

Observation 3: The expansion of the dynamic range of the faded and modulated gNB Tx waveform imposes further scaling requirements on the gNB Tx output.

Observation 4: Due to a trade-off between scaling the faded Tx waveform at the input to the switched PA bank to avoid saturation and maximizing the SNR in test zone, the switched PA bank can contribute to DL signal EVM degradation.

Proposal 1: In order to ensure that the quality of the emulated signal in the test zone is aligned with the demodulation requirement assumptions, a radiated verification of the DL signal EVM is needed.

Proposal 2: Because the EVM of a faded signal cannot be defined or measured, a pass-through mode in the fader is needed to verify the EVM under the same waveform scaling conditions that are used when fading emulation is enabled.

# References

- RP-181402, “Study on radiated metrics and test methodology for the verification of multi-antenna reception performance of NR UEs,” CATR, OPPO, Samsung, 3GPP RAN #80, June 2018

- R4-1901362, “Study on radiated metrics and test methodology for the verification of multi-antenna reception performance of NR User Equipment (UE),” 3GPP RAN4 #90, February 2019

- TS38.101-4, “NR; User Equipment (UE) radio transmission and reception; Part 4: Performance requirements,” 3GPP

- R4-1811394, “Way forward on NR UE PDSCH demodulation requirements and General aspects,” Intel Corporation, 3GPP RAN4 #88, August 2018

- TR37.977, “UTRA and E-UTRA; Verification of radiated multi-antenna reception performance of User Equipment (UE),” V15.0.0, 3GPP, September 2018

- TS37.144, “User Equipment (UE) and Mobile Station (MS) GSM, UTRA and E-UTRA over the air performance requirements,” V15.0.0, 3GPP, June 2018