## Slide 1: Way Forward on NR UE Testability
Intel Corporation, CATR
3GPP TSG-RAN WG4 NR AH Meeting R4-1700031
Spokane, USA, 17-19 January, 2017

## Slide 2: Far-field distance criterion
Background
  R4-1700213 outlines the potential challenges associated with defining the far-field distance
Way forward
  The far-field distance criterion should be defined for the baseline measurement setup
  Companies are encouraged to provide proposals for the criterion for the next meeting
  Whether different RF requirements may have different far-field distance criteria is FFS

## Slide 3: Test interface
Background
  R4-1700028, R4-1700078, R4-1609809 have provided proposals for a potential high-level definition of a test interface between the DUT and the test equipment
  R4-1700078 has shown potential test system complexity reduction when operated with a test interface to the DUT
Way forward
  Companies are encouraged to provide proposals for the next meeting on the following:
    Whether a standardized test interface is needed
    If needed, what high level aspects can be identified

## Slide 4: Baseline measurement setup
Background
  R4-1700026, R4-1700027, R4-1700079 have identified aspects of measurement setups
  R4-1700262 defines the baseline measurement setup for centre and off centre of beam measurements while leaving some aspects TBD
Way forward
  Companies are encouraged to provide the following proposals for the next meeting:
    Diagram of the baseline measurement setup
    Proposals on which aspects of the baseline measurement setup can be simplified for the centre of beam measurement setup

## Slide 5: NSA Testability
Background
  Offline discussions regarding testability of requirements for the NSA cases have raised some open issues
Way forward
  For the NSA case of control channel < 6 GHz, it should be studied if the baseline measurement setup can test the RF requirements of both CCs in sub-6GHz and mmWave
  If not, how to verify the RF requirements of both CCs in sub-6GHz and mmWave should be clarified