## Slide 1: WF on NR MU and test tolerance
CATR, Intel Corporation, Keysight Technologies, Rohde & Schwarz, Anritsu
3GPP TSG-RAN WG4 Meeting NR#3 R4-1710077
Nagoya, Japan 18 – 21 September, 2017
Agenda item: 3.6.2.2
Document for: Approval

## Slide 2: Downscope for UE RF MU
  The group will study the MUs as part of this SI at the highest frequency of the agreed range 2 frequency range, i.e., 43.5GHz (assumed to be the worst cases)
  It is agreed to RSS the standard uncertainties (1-sigma) in dB
  It is agreed to consider only traditional max output power[TRP/EIRP] and REFSENS [TRS/EIS] OTA MUs as part of this SI.
  The MU assumptions of this SI are based on a smartphone DUT [RAN4 #82bis R4-1704396] with max quiet zone size of 15cm in diameter

## Slide 3: MU for NR
MU budget table
  Companies are required to document the measurement setup, test procedures, calculation details, and underlying assumptions when example values are provided.
Quite zone characterization
  A procedure for Quality of Quiet Zone is required. The procedure outlined in [R4-1709810] is used as a baseline.

## Slide 4: Next steps
Goal for RAN4#84bis
  Finalize the Quality of quiet zone procedure
  Finalize the MU elements for EIRP/EIS and TRP/TRS
Goal for RAN4#85
  Provide estimates for all MU elements
  Finalize MU budget for the agreed requirements