3GPP TSG-RAN WG5 #84		R5-196820
Ljubljana, SI, 26 - 30 Aug 2019

Agenda item:	5.3.5.17

Source:	Keysight Technologies

Title:	On MU Elements for Demodulation test cases

Document for:	Discussion and Endorsement

# Introduction

This contribution is addressing aspects discussed in the Way Forward on FR Demod MU from the last meeting.

# Discussion

The WF from the last meeting [1] requested input on FR2 Demod MU and the test setups

- Companies to target providing contributions in RAN5-84 (Aug 2019) listing various MU elements that would impact the overall MU of the test setup for FR2 Demodulation testing. - The MU factors defined in TS 36.521-1, TR 37.977, and CTIA MIMO OTA Test Plan as well as those defined for EIS procedure using IFF test setup could be used as a starting point. - Companies to target providing contributions in RAN5-84 (Aug 2019) on the test setup to use for testing FR2 Demodulation test cases defined in 38.521-4

While this contribution focuses on the MU portion, it should be pointed out that RAN4 [2] has defined the following permitted methods for demodulation testing:

- Indirect Near-Field (IFF)

- Direct Far Field (DFF) & Simplified DFF

- Direct Near-Field (DNF)

From an MU, test procedure, and test setup perspective, the differentiation of Simplified DFF and DFF is not necessary for demodulation testing. It is therefore proposed to only consider DFF going forward with the assumption that the simplified DFF and DFF methodologies are equivalent. Given the many unknowns and uncertainties listed in [2] with respect to the DNF methodology, it is proposed not to consider DNF as a baseline for demodulation MU derivations. Even though IFF is the de-facto UE RF industry standard test methodology and in fact considered the “reference methodology” from an MU perspective for most UE RF test cases [3], the more cost-effective DFF methodology should be considered a baseline for FR2 demodulation system at this point. Is therefore proposed to consider both IFF and DFF as the baseline for demodulation MU derivations.

Proposal 1: Consider IFF and DFF as the baseline for demodulation MU derivations.

As discussed in [4], the essential system parameter of range length for an FR2 DFF system has not been defined yet in [2].

Observation 1: The range length of an FR2 DFF system has not been defined anywhere yet

Demodulation test cases require a virtually cabled scenario or wireless cable mode that will ensure that the radiated tests with DL MIMO rank 2 corresponds to a conducted test at the antenna ports. Unfortunately, very few details about this mode have captured so far in technical specifications. Some important aspects to achieve and verify this wireless cable mode are addressed in [5][6].

Observation 2: Very few details about the wireless cable mode have been captured so far

The wireless cable mode has many similarities to the Radiated Two-Stage methodology for LTE MIMO OTA [7] where the following MU elements related to the wireless cable mode/isolation have been captured:

Since the ATF pattern, used for RTS to convolve with the channel model, is not used for the wireless cable mode, this MU element should not be applicable to the FR2 demod MU budget. However, the limited/non-ideal isolation between branches is certainly an MU element that needs to be considered for the FR2 demod MU budget.

Proposal 2: Introduce an MU element labelled 'Impact on non-ideal isolation between branches for the wireless cable mode'

The following table, Table 1, contains the MU elements for the EIS measurement from [3]. The last column contains comments whether the MU elements are applicable to the FR2 demod MU budget. If MU elements listed in Table 1 are similar to those listed in the CTIA MIMO OTA test plan [8] which is testing the MIMO OTA performance of LTE device using an SNR based test environment, a note has been added accordingly with the assumption that this MU element is likely needed for the FR2 demod MU budget as well.

Use MU elements highlighted in yellow in Table 1 as baseline for the FR2 demod MU.

Proposal 3: Use MU elements highlighted in yellow in Table 1 as baseline for the FR2 demod MU

While there are a few elements in common between the EIS measurement and the FR2 demod measurements in Table 1, the detailed descriptions, theoretical and experimental derivations, and validation procedures might be different than for UE RF [3].

Observation 3: the detailed descriptions, theoretical and experimental derivations, and validation procedures might be different for FR2 demod MU elements in Table 1 than for FR2 UE RF

It is furthermore recommended to add the following MU element:

- Test System Frequency Flatness Uncertainty which could replace some of the existing MU elements

Proposal 4: Introduce an MU element labelled Test System Frequency Flatness Uncertainty'

Table 1: Uncertainty contributions for EIS measurement

| UID |  | Description of uncertainty contribution |  | Applicable to FR2 Demod MU |
| --- | --- | --- | --- | --- |
| Stage 2: DUT measurement |  |  |  |  |
| 1 |  | Positioning misalignment |  | Yes |
| 2 |  | Measure distance uncertainty |  | Yes (for DFF) |
| 3 |  | Quality of Quiet Zone |  | Likely very limited applicability at the moment; included in CTIA but different antenna assumptions; might be required for future releases |
| 4 |  | Mismatch |  | Yes (defined in CTIA) |
| 5 |  | Standing wave between the DUT and measurement antenna |  | Yes (defined in CTIA) |
| 6 |  | gNB emulator uncertainty |  | No (38.810 defined ‘gNB emulator SNR uncertainty’ instead |
| 7 |  | Phase curvature |  | Yes (likely more for DFF than IFF) |
| 8 |  | Amplifier uncertainties |  | Yes (depends on system architecture and how noise is added, e.g., baseband vs external) |
| 9 |  | Random uncertainty |  | Yes |
| 10 |  | Influence of the XPD |  | Likely |
| 11 |  | Insertion Loss Variation |  | Yes (depends on system architecture and how noise is added, e.g., baseband vs external) |
| 12 |  | RF leakage (from measurement antenna to the receiver/transmitter) |  | Likely |
| 13 |  | Multiple measurement antenna uncertainty |  | No |
| 14 |  | DUT repositioning |  | Yes |
| 15 |  | Influence of spherical coverage grid | No |  |
| Stage 1: Calibration measurement |  |  |  |  |
| 16 |  | Mismatch |  | Yes (depends on system architecture and how noise is added, e.g., baseband vs external) |
| 17 |  | Amplifier Uncertainties |  | Yes (depends on system architecture and how noise is added, e.g., baseband vs external) |
| 18 |  | Misalignment of positioning System |  | Yes |
| 19 |  | Uncertainty of the Network Analyzer |  | Include in ‘Test System Frequency Flatness Uncertainty’ |
| 20 |  | Uncertainty of the absolute gain of the calibration antenna |  | Include in ‘Test System Frequency Flatness Uncertainty’ |
| 21 |  | Positioning and pointing misalignment between the reference antenna and the measurement antenna |  | Include in ‘Test System Frequency Flatness Uncertainty’ |
| 22 |  | Phase centre offset of calibration antenna |  | Yes (defined in CTIA) |
| 23 |  | Quality of quiet zone for calibration process |  | Likely very limited applicability at the moment; included in CTIA but different antenna assumptions; might be required for future releases |
| 24 |  | Standing wave between reference calibration antenna and measurement antenna |  | Yes (defined in CTIA) |
| 25 |  | Influence of the calibration antenna feed cable |  | Yes (defined in CTIA) |
| 26 |  | Insertion Loss Variation |  | Include in ‘Test System Frequency Flatness Uncertainty’ |
| Systematic uncertainties |  |  |  |  |
| 27 |  | Systematic error related to beam peak search | No |  |
| 28 |  | Systematic error related to EIS spherical coverage | No |  |

# Conclusion

The following observations and proposals were made in this contribution

Proposal 1: Consider IFF and DFF as the baseline for demodulation MU derivations.

Observation 1: The range length of an FR2 DFF system has not been defined anywhere yet

Observation 2: Very few details about the wireless cable mode have been captured so far

Proposal 2: Introduce an MU element labelled 'Impact on non-ideal isolation between branches for the wireless cable mode'

Proposal 3: Use MU elements highlighted in yellow in Table 1 as baseline for the FR2 demod MU

Observation 3: the detailed descriptions, theoretical and experimental derivations, and validation procedures might be different for FR2 demod MU elements in Table 1 than for FR2 UE RF

Proposal 4: Introduce an MU element labelled Test System Frequency Flatness Uncertainty'

# References

- R5-195400, WF on FR2 Demod MU, Keysight Technologies, Rohde & Schwarz, Anritsu, Qualcomm, PCTEST Engineering Lab, 3GPP TSG RAN WG5 #83, May 2019

- TR 38.810, Study on Test Methods, V16.3.0 (2019-06)

- TR 38.903, Derivation of test tolerances and measurement uncertainty for User Equipment (UE) conformance test cases, V16.0.0 (2019-06)

- R4-1909726, Minimum Range Length Requirements for DFF Systems, Keysight Technologies, 3GPP TSG RAN WG4 #92, August 2019

- R5-196817, Wireless Cable Mode Procedure for Demodulation Tests, Keysight Technologies, 3GPP TSG RAN WG5 #84, August 2019

- R5-196818, Min. Isolation Requirements for Wireless Cable Mode, Keysight Technologies, 3GPP TSG RAN WG5 #84, August 2019

- TR 37.977, Verification of radiated multi-antenna reception performance of User Equipment (UE), V15.0.0 (2018-09)

- CTIA, Test Plan for 2x2 Downlink MIMO and Transmit Diversity Over-the-Air Performance, Version 1.2, April 2018