3GPP TSG-RAN5 Meeting #88-e	R5-204085r2

# Online, , 17th Aug 2020 - 28th Aug 2020

Title:							On FR2 OBW MU

Source:			Anritsu

Agenda Item:			5.3.2.17

Document for:			Endorsement

# 1.	Introduction

OBW MUs have been discussed in [1-16] but no conclusion was reached as of now. In [9], action item for UE/Chip vendors for the spectrum assumption for deriving the OBW MUs are made, and the reference spectrum is provided in [10]. In RAN5#86e, OBW MU analyses based on the reference spectrum [10] are provided [11]-[16]. This paper provide the simulation result and proposes MU for FR2 OBW considering the discussions in RAN5#87-e.

# 2.	Discussion

# 2.1	MU Definition

# As already mentioned in [14], the several possibilities of metrics are proposed. As the OBW MU is defined as a ratio to channel BW in FR1 NR, our preference is to adopt the MU definition based on Option A1 for consistency between FR1 and FR2.

Proposal 1 : Define OBW Measurement Error based with (OBWmeas - OBWsignal) / CBW *100 [%CBW]

where OBWsignal is the OBW without any distortion (noise/ripple) from TE, and OBWmeas is the measured OBW with TE having some noise and ripple.

2.2 Simulation

In the RAN5#86e, Qualcomm indicated that the centre frequency of the spectrum is exactly 28GHz, which is different from the assumption in previous simulation [14]. Other conditions are same as previous simulation [14]. As setting the OBW measurement sapn to x1.5 of CBW is already agreed, we only provide simulation for x1.5 BW.

Fig.1, 2, 3 and 4 show the simulation result when centre of OBW measurement span is aligned with 28GHz. Fig 1 and 2 show the measurement error [%CBW], while Fig 3 and 4 show the absolute measurement error in [MHz]. Due to the asymmetricity of reference spectrum against 28GHz, the OBW measurement result becomes worse than the previous simulation [14].

| Figure 1 BW=400MHz Error [%CBW] | Figure 2 BW=100MHz Error [%CBW] |
| --- | --- |
| Figure 3 BW=400MHz, Absolute Error[MHz] | Figure 4 BW=100MHz, Absolute Error[MHz] |

Table 1 shows the OBWsignal (w/o noise/ripple) for the reference spectrum and is used as a basis for the measurement error.

Table 1 OBWsiginal of the reference spectrum

|  | OBW meas span = 1.5 x CBW | OBW meas span = 2.0 x CBW |
| --- | --- | --- |
| 100MHz | 96.3MHz | 96.3MHz |
| 400MHz | 397.8MHz | 398.6MHz |

2.1.2 Updated simulation during RAN5#88-e with updated simulation assumption

During the RAN5#88-e meeting, it is shown that the center frequency can be 27998.4 MHz rather than 28000.0MHz. This section provides the updated simulation result for center frequency of 27998.4MHz.

Also, following parameters are changed.

- Resampling of original reference data with 50kHz uniform interval.

- TxBW assumption to derive noise level is as per the following table

Table 2 Tx BW assumption in the simulation

| 100MHz | 400MHz (1) | 400MHz (2) |
| --- | --- | --- |
|  | Tx BW Assumption = Single Carrier | Tx BW Assumption = Intra-band CA class I |
| 95.04MHz (66*120*12/1000) | 380.16MHz(264*120*12/1000) | 394.92(95.04 + 99.96*3) |
|  |  | * 99.96MHz is channel spacing defined in 38.508-1 |

| Figure 5 BW=400MHz(SC) Error [%CBW] | Figure 5 BW=400MHz(CA) Error [%CBW] | Figure 6 BW=100MHz Error [%CBW] |
| --- | --- | --- |
| Figure 7 BW=400MHz, Absolute Error[MHz] | Figure 7 BW=400MHz, Absolute Error[MHz] | Figure 8 BW=100MHz, Absolute Error[MHz] |

Table 3 shows the OBWsignal (w/o noise/ripple)  and error limit for the reference spectrum and is used as a basis for the measurement error. Error limit is defined as the OBW measurement error above which measured OBW of reference spectrum is judged as FAIL.i.e. Error Limit =

Table 3 OBWsiginal and Error Limit of the reference spectrum with center frequency = 27998.4 MHz

|  | OBW meas span = 1.5 x CBW | Error Limit %CBW |
| --- | --- | --- |
| 100MHz | 94.15 MHz | 5.85 %CBW |
| 400MHz Single Carrier | 394.71 MHz | 1.32 %CBW |
| 400MHz CA class I | 394.71 MHz | 1.32 %CBW |

2.1.3 Observations

Based on the analysis in 2.1.2, the required SNR for error limit is shown in the below table.

Table 4 OBWsiginal of the reference spectrum with center frequency = 27998.4 MHz

|  | Required SNR for error limit |
| --- | --- |
| 100MHz | 21 dB |
| 400MHz (Single Carrier Assumption) | 25 dB (24.3dB with 0.1 granuality analysis) |
| 400MHz (Intra-band CA Assumption) | 25 dB (24.1dB with 0.1 granuality analysis) |

Achievable SNR based on R5-200868 is given in the below table.

Table 5 Achievable SNR by TEV

|  | BW | SNR with R5-200868 (w/o MBR,MPR,T(MPR)) | MBR | MPR | T(MPR) | SNR |
| --- | --- | --- | --- | --- | --- | --- |
| FR2a | 100 | 36 | 1.7 | 2 | 1.5 | 30.8 |
|  |  | 36 | 0.75 | 2 | 1.5 | 31.75 |
|  | 400 | 30 | 1.7 | 3 | 2 | 23.3 |
|  |  | 30 | 0.75 | 3 | 2 | 24.25 |
| FR2b | 100 | 32.1 | 1.7 | 2 | 1.5 | 26.9 |
|  |  | 32.1 | 0.75 | 2 | 1.5 | 27.85 |
|  | 400 | 26.1 | 1.7 | 3 | 2 | 19.4 |
|  |  | 26.1 | 0.75 | 3 | 2 | 20.35 |

Observation 1 : For FR2a 100MHz, required SNR for error limit can be achieved with the test equipment

Observation 2 : For FR2a 400MHz, required SNR for error limit  and achievable SNR with the test equipment is almost the same if MBR=0.75 applies

Observation 3 : For FR2b 100MHz, required SNR for error limit can be achieved with the test equipment

Observation 4 : For FR2a 400MHz, required SNR for error limit cannot be achieved with the test equipment

2.2 Proposals

Summarizing the observations in section 2.1 we propose following .

Table 6 Proposal of MTSU and OBW measurement span for FR2(CBW<=400MHz)

| # CBW | # Item | # FR2a | # FR2b |
| --- | --- | --- | --- |
| # 50Mhz, 100MHz | # MTSU | # 1% of CBW | # 1% of CBW |
|  | # OBW measurement span | # >= 1.5 x CBW | # >= 1.5 x CBW |
| # 200MHz, 400MHz | # MTSU | # 1.32% of CBW (If only MBR=0.75dB applies) | # FFS. x |
|  | # OBW measurement span | # >= 1.5 x CBW | # FFS |

# Proposal 2 : Agree on the Table 4 for FR2 OBW MTSU/measurement span

# 3.	Conclusion

In this paper FR2 OBW MU and testability limit is studied based on the previous discussions.

# RAN5 is asked to endorse following proposals.

# Proposal 1 : Define OBW Measurement Error based with (OBWmeas - OBWsignal) / CBW *100 [%CBW]

# Proposal 2 : Agree on the Table 4 for FR2 OBW MTSU/measurement span

# 4.	References

[1] R5-188189, “On the FR2 MU for occupied BW and ACLR”, Anritsu, RAN5#81

[2] R5-190390, “On QoQZ MU Impact on OBW”, Keysight, RAN5 NR#4 AdHoc

[3] R5-192660, “On the FR2 OBW MU”, Anritsu, RAN5#82

[4] R5-191617, “On OBW measurement uncertainty”, Keysight, RAN5#82

[5] R5-194353, “On the noise impact to FR2 OBW”, Anritsu, RAN5#83

[6] R5-192984, “On the SNR for FR2 TRx test cases”, R&S, Rohde & Schwarz, RAN5 NR#5 AdHoc

[7] R5-193187, “On noise impact”, Keysight, RAN5 NR#5 AdHoc

[8] ITU-R SM 443-4, “SM.443 : Bandwidth measurement at monitoring stations”, https://www.itu.int/rec/R-REC-SM.443-4-200702-I/en

[9] R5-197626, “Impact of noise for FR2 OBW”, Anritsu, RAN5#83

[10] R5-198175, “Discussion on AP#84.22 Tx Spectrum Shape for FR2 OBW MU”, Qualcomm, RAN5#85

[11] R5-200874, “On FR2 OBW MU”, Kesight, RAN5#86e

[12] R5-200869, “On the MU of FR2 OBW”, Rohde&Shwarltz, RAN5#86e

[13] R5-200739, “On FR2 OBW MU “, Anritsu, RAN5#86e

[14] R5-202318, “On FR2 OBW MU”, Anritsu, RAN5#87e

[15] R5-202458, “On the MU of FR2 OBW”, ROHDE & SCHWARZ, RAN5#87e

[16] R5-202460, “On FR2 OBW MU”, Keysight Technologies UK Ltd, RAN5#87e

Annex A : OBW evaluation algorithm

- f, Ptheta, Pphi = Raw data from reference spectrum, N:Number of samples

- P = 10log10( 10^( Ptheta /10) + 10^( Pphi /10))

- M = M = 1.5*CBW/0.05 # latter : Fixed 50kHz interval resampling. M=N*2 was used in original simulation

- f’ = linspace(Fcenter -1.5*CWB/2, Fcenter + 1.5*CBW/2,  M)

- P ‘ = lininterp(f’, f, P) # Make a uniformly sampled data within OBW measurement window by linear interpolation (up sampling by 2*N)

- Pnoise = Average Power per sample of P’ within TxBW centered on Fcenter – SNR.

- For each realization 1…10000

  - flatness_d = 3 independent random variables of normal distribution (sigma =2.19)

  - flatness_f = linspace(Fcenter -1.5* CBW/2, Fcenter + 1.5*CBW/2, 3)

  - flatness = lininterp(f’, flatness_f, flatness_d) # linear interpolate flatness over OBW measurement window

  - S = 10log10(10^(P’/10) + 10^(Pnoise/10)) + flatness

  - OBWmeas = Frequency width(centered on Fcenter) where the power within it (in W) equals to 0.99 * total power(in W) of S

- Obtain 2.5%-tile and 97.5%-tile value from CDF of 10000 OBWmeas

linspace(x0, x1, N) : N evenly spaced samples, calculated over the interval [x0, x1].

lininterp(x’, x, y) : Linearly interpolated data of (x,y) sampled at x’