3GPP TSG-RAN5 Meeting #91-e	R5-214116

# Online, , 17th May 2021 - 28th May 2021

| CR-Form-v12.1 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANGE REQUEST |  |  |  |  |  |  |  |  |
|  | 38.903 | CR | 0233 | rev | 1 | Current version: | 16.7.0 |  |
| For HELP on using this form: comprehensive instructions can be found at http://www.3gpp.org/Change-Requests. |  |  |  |  |  |  |  |  |

| Proposed change affects: | UICC apps |  | ME |  | Radio Access Network |  | Core Network |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Title: | Update Test Tolerance analysis for FR2 Inter-freq SS-RSRP Test case |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source to WG: | ANRITSU LTD |  |  |  |  |  |  |  |  |  |
| Source to TSG: | R5 |  |  |  |  |  |  |  |  |  |
| Work item code: | 5GS_NR_LTE-UEConTest |  |  |  |  |  | Date: |  |  | 2021-04-13 |
| Category: | F |  |  |  |  |  | Release: |  |  | Rel-16 |
|  | Use one of the following categories: F (correction) A (mirror corresponding to a change in an earlier release) B (addition of feature), C (functional modification of feature) D (editorial modification) Detailed explanations of the above categories can be found in 3GPP TR 21.900. |  |  |  |  |  |  |  | Use one of the following releases: Rel-8 (Release 8) Rel-9 (Release 9) Rel-10 (Release 10) Rel-11 (Release 11) … Rel-15 (Release 15) Rel-16 (Release 16) Rel-17 (Release 17) Rel-18 (Release 18) |  |
| Reason for change: |  | The existing draft TT analysis uses a tentative Downlink absolute signal level uncertainty of ±6dB, and does not correctly cover the configuration with 240kHz SSB SCS. |  |  |  |  |  |  |  |  |
| Summary of change: |  | An updated TT analysis is provided for the Intra frequency SS-RSRP accuracy test cases 5.7.1.2 and 7.7.1.2, based on the now-accepted Downlink absolute signal level uncertainty value of ±5.65dB. The configuration with 240kHz SSB SCS is updated, and now has 48 allocated RBs (the 120kHz SSB SCS configuration keeps 24 allocated RBs). Remove the text relating to 38.533 5.7.1.2+7.7.1.2 TT in A.3. Update the TT analysis zip files to ‘’38.533 5.7.1.2+7.7.1.2 TT” in TR 38.903. |  |  |  |  |  |  |  |  |
| Consequences if not approved: |  | The Inter frequency SS-RSRP accuracy Test case requirements could not be finalised, as the Downlink absolute signal level uncertainty would only be a tentative value and the configuration with 240kHz SSB SCS could not have been implemented. |  |  |  |  |  |  |  |  |
| Clauses affected: |  | A.3, replace zip file in TR 38.903 |  |  |  |  |  |  |  |  |
|  |  | Y | N |  |  |  |  |  |  |  |
| Other specs |  |  | X | Other core specifications |  |  |  | TS/TR ... CR ... |  |  |
| affected: |  |  | X | Test specifications |  |  |  | TS/TR ... CR ... |  |  |
| (show related CRs) |  |  | X | O&M Specifications |  |  |  | TS/TR ... CR ... |  |  |
| Other comments: |  | There is a dependency on R4-2108886 (updated to R4-2108199), R4-2110257 (updated to R4-2108210) and R4-2109637 (updated to R4-2108204) which have been included in the 38.133 extract, explicitly stating the allocated RBs for each configuration, correcting the OCNG pattern and clarifying a note. |  |  |  |  |  |  |  |  |
| This CR's revision history: |  | Changes in R5-212640r1: - Include 40.8GHz MU frequency range limitation in .doc, and grey out n259 in .xls - Add dependency on R4-2110257, which corrects OCNG pattern |  |  |  |  |  |  |  |  |

## << Start of changes >>

# A.3	Test Tolerance analysis templates for radiated test cases awaiting completion

Test Tolerance analyses for Radiated testing listed below are not yet complete, but contain the main features for the test cases covered and can be used as templates. For each analysis, the missing aspects are listed.

The analysis documents (and spreadsheets where applicable) are included in the present document as zip files with “draft” at the end of the filename. When the test case analyses are complete, the draft versions and listing in this clause should be removed.

38.533 5.3.2.2.1+5.3.2.2.2+7.3.2.2.1+7.3.2.2.2 TT draft

Editor’s note: This test tolerance analysis is incomplete. The following aspects are missing:

- Settable window for first preamble uplink power and the uplink calibration process

- Derivation of test requirement for absolute uplink power after uplink calibration process

- Derivation of test requirement for relative uplink power

- The uncertainty value and test requirement for PRACH timing are in [ ] and not yet finalised

- The results of the TT analysis are provisional until the corresponding MU values are agreed

38.533 5.6.1.2+5.6.1.4+7.6.1.2+7.6.1.4 TT draft

Editor’s note: This test tolerance analysis is incomplete. The following aspects are missing:

- The test system measurement uncertainties for Noc absolute levels are not yet agreed

- Finalisation of the Test Tolerance values may depend on the Noc absolute level uncertainty values

### << Unchanged sections skipped >>

## Add the following attached .zip file to TR 36.903:

## “38.533 5.7.1.2+7.7.1.2 TT”

## Please remove the existing .zip file:

## “38.533 5.7.1.2+7.7.1.2 TT draft”

## << End of changes >>