3GPP TSG-RAN5 Meeting #95-e	R5-222553
Electronic Meeting, 9th May – 20th May 2022

Agenda item:	5.4.17

Source:	Keysight Technologies

Title:	On QoQZ for 40cm QZ

Document for:	Discussion and Endorsement

# Introduction

This contribution discusses the QoQZ MU for a 40cm QZ to support larger devices. Given the various adjustments of virtual meeting dates and submission deadlines, the measurement campaign scheduled a few months ago could not be pulled in and did not complete on time. More complete results will be provided in a revision of this contribution.

# Discussion

This contribution is based on an EIRP&TRP QoQZ MU campaign with 14 measurement points. The quiet zone size evaluated in this contribution is a 40cm sphere and the procedure is following the procedure and requirements outlined in [1]. The reference AUT positions, other than P1, are all displaced by the centre of the QZ by R=20cm, as tabulated in Table 1.

Table 1: Reference AUT Measurement Coordinates

| Position | x | y | z |
| --- | --- | --- | --- |
| P1 | 0 | 0 | 0 |
| P2 | 20cm | 0 | 0 |
| P3 | -20cm | 0 | 0 |
| P4 | 0 | 20cm | 0 |
| P5 | 0 | -20cm | 0 |
| P6 | 0 | 0 | 20cm |
| P7 | 0 | 0 | -20cm |

The EIRP/TRP QoQZ standard deviations/MUs from this QoQZ campaign are tabulated in Table 2.

Table 2: EIRP and TRP std. deviations from the partial QoQZ scan

| Frequency [GHz] | Standard Deviation [dB] |  |  |  |
| --- | --- | --- | --- | --- |
|  | EIRP (P1 only) | EIRP (P1-P7) | TRP (P1 only) | TRP (P1-P7) |
| 23.45 |  | 0.46 |  | 0.38 |
| 32.125 |  | 0.63 |  | 0.55 |
| 40.8 |  | 0.32 |  | 0.25 |
| 44.3 |  | 0.31 |  | 0.26 |
| 49.0 |  | 0.52 |  | 0.36 |
| 53.4 |  | 0.48 |  | 0.14 |

Observations and conclusions will be added in a revision of this contribution.

# Conclusion

The following observations and conclusions were made in this contribution.

# References

- TS 38.521-2, User Equipment (UE) conformance specification; Radio transmission and reception; Part 2: Range 2 Standalone, V16.11.0 (2022-03)