3GPP TSG-RAN5 Meeting NR#4 AdHoc	R5-190446

# Singapore, 21th – 25th Jan. 2019

Title:							On the power level to derive SNR for FR2 TRx tests

Source:			Anritsu

Agenda Item:			5.1.15

Document for:			Endorsement

# 1.	Introduction

According to the pre-meeting offline discussion among concerning parties regarding SNR estimation, following points are identified regarding SNR estimation for FR2 TRx test cases.

- How to consider the power imbalance from EIRP components from 2 polarization

- How to consider the impact of noise from side lobes for TRP measurement

This document discusses the treatment of these 2 points.

# 2.	Discussion

# 2.1.	Impact of power imbalance from 2 polarization for EIRP

# For all the test cases with EIRP metric, EIRP is always measured as a total component EIRP(in linear scale) from 2 polarization as below.

# EIRP=EIRPθ+EIRPφ

# If we denote the floor noise of the TE for single polarization as NTE and is same for both porlizations,  then the measured EIRP is

# EIRPmeas=EIRPθ+NTE+EIRPφ+NTE

# If we denote  γ=EIRP/NTE, then

# Δnoise=10log10EIRPmeasEIRP=10log101+2γ

# The above equation holds for arbitral ratio of  EIRPθ to EIRPφ. If we determine the threshold SNR from the certain threshold of bias from noise(such as 0.4dB, 1.0dB…), deriving SNR against EIRP core requirement – 3dB is appropriate for testability discussion due to low SNR.

# Proposal 1 : Derive SNR against EIRP core requirement – 3dB for testability discussion due to low SNR

# 2.2.	Impact from noise for the side-lobes for TRP measurement

Similar discussion as discussed in 2.1 can be applied for this issue as well.

Constant density grid

TRP is average of EIRP samples on every M grid points.

# TRP=1Mi=0M-1EIRP(i)=1Mi=0M-1EIRPθi+EIRPφi

# If we denote the floor noise of the TE for single polarization as NTE and is same for both polarization and all sampling grids,  the measured TRP including noise is

# TRPmeas=1Mi=0M-1EIRP(i)+2NTE=TRP+1Mi=0M-12NTE=TRP+2NTE

# If we denote  γ=TRP/NTE, then the bias from the noise for TRP is

# Δnoise=10log10TRPmeasTRP=10log101+2γ

# Constant step size grid with classical sin(theta) weighting

# With constant step size(N x M division for theta and phi) with classical sin(theta) weighting, TRP is defined

# TRP=π2NMn=0N-1m=0M-1EIRPθn,φmsinθn

# Measured TRP including noise is

# TRPmeas=π2NMn=0N-1m=0M-1EIRPθn,φm+2NTEsinθn  =TRP+2NTE∙π2Nn=0N-1sinθn

# If we denote  γ=TRP/NTE, then the bias from the noise for TRP is

# Δnoise=10log10TRPmeasTRP=10log101+2γ∙π2Nn=0N-1sinθn≅10log101+2γ

# Approximation holds for N≫1. E.g. for N=12, π/2Nn=0N-1sinθn=0.994.

# Generic quadrature methods

# If we consider the generic case with arbitral quadrature methods, the TRP including noise is

# TRPmeas=TRP+2NTE∙Q

# If we denote  γ=TRP/NTE, then the bias from the noise for TRP is

# Δnoise=10log101+2γ∙Q

# where Q is calculated surface area of sphere having surface area of 1 by the quadrature method and is ≅ 1 if the quadrature method is considered to be accurate enough.  Hence, regardless of the quadrature method(if it is accurate method), grid type, and beam shapes, bias from noise can be calculated as below.

# Δnoise≅10log101+2γ

# If we determine the threshold SNR from the certain threshold of bias from noise(such as 0.4dB, 1.0dB …) , deriving SNR against TRP core requirement – 3dB is appropriate for testability discussion due to low SNR.

# Proposal 2 : Derive SNR against TRP core requirement – 3dB for testability discussion due to low SNR

# 3.	Conclusion

RAN5 is asked to endorse following proposals.

# Proposal 1 : Derive SNR against EIRP core requirement – 3dB for testability discussion due to low SNR

# Proposal 2 : Derive SNR against TRP core requirement – 3dB for testability discussion due to low SNR

# 4.	References