3GPP TSG-WG5 Meeting #101	R5-236783

# Chicago, USA, 13th – 17th November 2023

| Text Proposal |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 38.551 | CR | n/a | rev | - | Current version: | 0.3.0 |  |
| For HELP on using this form: comprehensive instructions can be found at http://www.3gpp.org/Change-Requests. |  |  |  |  |  |  |  |  |

| Proposed change affects: | UICC apps |  | ME |  | Radio Access Network |  | Core Network |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Title: | pCR for TS 38.551, Annex B |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source to WG: | Apple Switzerland AG |  |  |  |  |  |  |  |  |  |
| Work item code: | NR_MIMO_OTA-UEConTest |  |  |  |  |  | Date: |  |  | 2023-11-03 |
| Category: | n/a |  |  |  |  |  | Release: |  |  | Rel-17 |
|  | Use one of the following categories: F (correction) A (mirror corresponding to a change in an earlier release) B (addition of feature), C (functional modification of feature) D (editorial modification) Detailed explanations of the above categories can be found in 3GPP TR 21.900. |  |  |  |  |  |  |  | Use one of the following releases: Rel-8 (Release 8) Rel-9 (Release 9) Rel-10 (Release 10) Rel-11 (Release 11) Rel-12 (Release 12) Rel-13 (Release 13) Rel-14 (Release 14) Rel-15 (Release 15) Rel-16 (Release 16) Rel-17 (Release 17) Rel-18 (Release 18) Rel-19 (Release 19) |  |
| Reason for change: |  | The FR1 MIMO OTA Budget is still based on preliminary deffinitions and assumptions from RAN4. |  |  |  |  |  |  |  |  |
| Summary of change: |  | Editorial changes on FR1 MIMO OTA MU budget and deffinitions |  |  |  |  |  |  |  |  |
| Consequences if not approved: |  | MU budget will remain based on preliminary RAN4 deffinitions |  |  |  |  |  |  |  |  |
| Clauses affected: |  | Annex B |  |  |  |  |  |  |  |  |
|  |  | Y | N |  |  |  |  |  |  |  |
| Other specs |  |  | x | Other core specifications |  |  |  | TS/TR ... CR ... |  |  |
| affected: |  |  | x | Test specifications |  |  |  | TS/TR ... CR ... |  |  |
| (show related CRs) |  |  | x | O&M Specifications |  |  |  | TS/TR ... CR ... |  |  |
| Other comments: |  |  |  |  |  |  |  |  |  |  |
| This CR's revision history: |  |  |  |  |  |  |  |  |  |  |

<Start of Change #1 >

Annex B (normative): MU Budget

## B.1	MU budget of FR1 MPAC system

This clause defines the Preliminary measurement uncertainty (MU) budget for FR1 MPAC system, as shown in Table B.1-1.

Table B.1-1: Preliminary measurement uncertainty budget for FR1 MPAC system

| UID | Description of uncertainty contribution | Example value (410MHz<f≤3GHz) | Example value (3GHz <f≤7.125GHz) | Distribution of the probability | Std Uncertainty (410MHz<f≤3GHz) [dB] | Std Uncertainty (3GHz <f≤7.125GHz) [dB] |
| --- | --- | --- | --- | --- | --- | --- |
| Stage 2: DUT measurement |  |  |  |  |  |  |
| 1 | Mismatch for measurement process | 0 | 0 | U-Shaped | [0] | 0 |
| 2 | Measure distance uncertainty | 0 | 0 | Normal | [0] | 0 |
| 3 | Quality of quiet zone | 0.6 | 0.6 | Actual | [0.6] | [0.6] |
| 4 | Base Station simulator | 1.5dB | 2dB | Rectangular | [0.87] | [1.15] |
| 5 | Channel Emulator - absolute output power - output signal stability - output stability with temperature | 1.5dB 0.5dB 0.4dB | 1.5dB 0.5dB 0.4dB | Actual (Normal - power; rect-stability) | [0.84] | [0.84] |
| 6 | Amplifier uncertainties | 0.7dB | 0.7dB | Rectangular | [0.4] | [0.4] |
| 7 | Random uncertainty | 0.2dB | 0.2dB | Normal | [0.12] | [0.12] |
| 8 | Throughput measurement: output level step resolution | 0.25dB | 0.25dB | Rectangular | [0.14] | [0.14] |
| 9 | Signal flatness | 0 | 0 | Normal | [0] | [0] |
| Stage 1: Calibration measurement |  |  |  |  |  |  |
| 10 | Mismatch for calibration process - loopback cable path - system input path | 0.2 | 0.2 | U-Shaped | [0.14] | [0.14] |
| 11 | Reference antenna positioning misalignment | 0 | 0 | Normal | [0] | 0 |
| 12 | Chamber ripple at the center of QZ | 0.6 | 0.6 | [Rectangular] | [0.35] | [0.35] |
| 13 | Total uncertainty of the Network Analyzer | 0.5 | 0.5 | Rectangular | [0.29] | [0.29] |
| 14 | Uncertainty of an absolute gain of the calibration antenna | 1 | 1 | Normal | [0.5] | [0.5] |
| Total Expanded Uncertainty, U, with 95% Confidence Interval |  |  |  |  | [3.09] | [3.43] |

The detailed descriptions of each measurement uncertainty contributor are defined in in Annex B.2.

## B.2	Measurement error contribution descriptions for MPAC

#### B.2.1	Mismatch for measurement process

FFS.

#### B.2.2	Measurement distance uncertainty

FFS.

#### B.2.3	Quality of quiet zone

The quality of the quiet zone for FR1 MIMO OTA test systems based on Multi Probe Anechoic chamber (MPAC) is related to the the distance from the center of the chamber where the spatial correlation coefficient starts to diverge from the theorectical value. Such distance value is directly correlated to the wavelength being tested and the number of probes in the antenna array, other factors related to the anechoic chambers contruction such as reflection and positioners interference can also affet the quality of the quiet zone. The actual quiet zone will vary over the frequency being tested and the MPAC test compliance characteristics, therefore requires further analysis.

#### B.2.4	Base Station simulator

FFS.

#### B.2.5	Channel Emulator

FFS.

#### B.2.6	Amplifier uncertainties

FFS.

#### B.2.7	Random uncertainty

FSS.

#### B.2.8	Throughput measurement: output level step resolution

FSS.

#### B.2.9	Signal flatness

FFS.

#### B.2.10	Mismatch for calibration process

FFS.

#### B.2.11	Reference antenna positioning misalignment

FFS.

#### B.2.12	Chamber Ripple at Center of QZ

This contribution originates from the effect of chamber ripple (caused by anechoic chamber and positioner) on probe calibration with a reference antenna placed at the centre of the QZ. This measurement procedure is similar to ripple test performed in SISO chambers. While measuring the path loss with a individual probe in the MPAC array, the reference antenna rotates in its axis, the variation in path loss magnitude between the reference antenna and each individual probe (both polarizations) is adopted to determine the uncertainty related to chamber ripple.

#### B.2.13	Total Uncertainty of the Network Analyzer

FFS.

#### B.2.14	Uncertainty of an absolute gain of the calibration antenna

FFS.

<End of Change #1 >