3GPP TSG-SA5 Meeting #146 	S5-226615

# Toulouse, France, 14 - 18 November 2022												was S5-22abcd

# Source:	Samsung, ...

# Title:	Rel-18 pCR 28.829 Use case on Energy System Recovery

# Document for:	Approval

Agenda Item:	6.9.3.9

# 1	Decision/action requested

The group is asked to discuss and approve the proposals.

# 2	References

None

# 3	Rationale

This pCR provides a use case to address objective 3 of the FS_NSOEU study.

# 4	Detailed proposal

The following change is proposed to be made to TR 28.829-040.

First modification

## 6.X	Business use case: Energy utility and telecommunication coordinated recovery of energy service

### 6.X.1	Description

There is clearly a mutual interest in coordination between telecommunications and energy service operations to achieve rapid recovery of energy service. This is not only true for the MNO, who benefits from the availability of supplied power, but also of the DSO who needs mobile telecommunication service to restore and maintain the operation of its grid.

Energy service interruptions may occur in many partsof the energy system, ultimately effecting the end customer. This use case does not consider every service interruption scenario. It rather concentrates on one specific level of the system. The remainder of the task of efficient recovery is out of scope of this use case. Please consider the following model:

Figure 6.X.1-1: A simple model of the energy service delivery system

We concentrate on the distribution aspects, which is depicted above as a single level in a hierarchy, but in fact may have a series of sub-stations between high voltage transmission and the final distribution to energy consumers.

Interruptions occur in the distribution system, as at some level, the medium voltage network may rquire local reconfigurations or suffer unplanned loss of distribution service (e.g. due to distribution cable damage, etc.) The resulting energy service interruptions last a variable amount of time (from minutes to hours.)

The normal situation is that a utility may need to disconnect a certain Medium Voltage feeder. As the grid does not automatically re-connect this feeder to an active one, there will be a power outage in all points of supply connected to it while the power is being restored. The procedures and times to reconnect the affected feeder would be the same if for any reason this has been caused by a planned operation, an unexpected incident, or if it is a major grid problem.

In the recovery procedures, the DSO network operations center needs to restore power in a certain order often for regulatory compliance: the order includes prioritizing the more important energy consumers (e.g., Hospitals, government sites).

This prioritization may also include major MNOs’ sites, such as base stations and core network sites to restore communication services, which is in the interest of both MNO and DSO stakeholders. Enabling this prioritized recovery of MNO sites is enabled by this use case.

It is here where an operational interface (API) connecting DSOs and MNOs would be beneficial. This use case describes the information and operations that would be required on that interface.

Part of the information may have a more static nature.

This is the point of supply ID. The DSO is aware of each point of supply (to an energy consumer), by means of the meter ID. The MNO needs to let the DSO know the relevant meter IDs, so that the utility can know where they connect to its feeders. Another critical information element is the power back up installed by the MNO in each base station (including 'back up' base stations), and its expected duration. In addition, for each meter ID, base station, e.g. eNB, IDs (serving the cell IDs) served by the base station as shown in figure 6.X.1-2 below.

Figure 6.X.1-2: Local recovery scenario

The correspondence between the communication system serving the distribution substation by means of a UE (camped in the depicted cell), the meter ID of the base station and the ID of the base station enables the DSO to identify important operational aspects, such as:

(a) the impact of the distribution substation interrupting service: specifically the base station that the distribution substation relies on will have its power supply interrupted;

(b) upon recovery of the distribution substation, which substations may be high priority for resumption of service.

As implied in Figure 6.X.1-2, there is a dependency that the DSO has on the MNO in that the DSO relies upon data connectivity to smart energy equipment in the distribution system. Through the use of smart energy services, restoration of energy service is rapid and reliable. If the energy substation lacks data connectivity, it is sometimes necessary to send a technician to the site to restore service, which is time consuming.

Within the distribution substation is a router, a kind of customer premises equipment (CPE) that communicates as a router that supports a mobile interface, shown as the UE. Beyond the CPEs are DSO Remote Terminal Units (RTUs) are connected. The DSO monitors and controls the RTUs as part of normal operations, especially in the event of a service outage.

Other information exposed by the new API is dynamic.

The figure below depicts the situation at the time of a failure and what is needed in order to restore energy service.

Figure 6.X.1-3: Local failure event

The red lines above are medium voltage lines between energy distribution subtations (DS). Note that initially Primary Substation (PS) 1 feeds DS7, DS6 and DS5, and PS2 feeds DS1, DS2, DS3 and DS4.

Between DS2 and DS3 there is a distribution failure. This has the result of causing DS3 and DS4 to no longer be able to maintain the energy distribution service to customers.

Note that the topology of energy distribution lines is redundant. In order to achieve distribution successfully through this redundant topology, energy service must be switched on and off at corresponding distribution substations. This for example could to be done between DS4 and DS5 to feed restore service to all substations. The switching is disruptive of energy service. For some time, energy supplied by the distribution substation to the energy customers is off-line. This would result in the following topology:

Figure 6.X.1-4: Local failure restored

The topology in Figure 6.X.1-4 is altered so that DS4 and DS5 are now connected, accepting the medium voltage line between DS2 and DS3 are disconnected. PS1 and PS2 remain disconnected; they represent another level of redundancy in the system.

If the process of switching on and off until a stable configuration is achieved must be done manually the process can take considerable time (e.g. hours) as technicians must be on-site to control the substation configuration. The technicians must communicate, e.g. using mobile telecommunications. However, if the process takes a long time - the mobile telecommunication infrastructure, as shown by base station A and base station B, will likely have exhaused their Uninterruptable Power Supply (UPS), further complicating recovery procedures.

The alternative investigated in this use case involves taking into account the configuration (as described in Figure 6.X.1-2) and dynamic information obtained from the 5G system concerning the current capacity (expected remaining duration of service) of the UPS in each of the MNO's critical infrastructure sites.

Using smart energy services (principally Distribution Automation), it is possible to perform the 'switch on and off' procedures rapidly, within minutes, and reconfigure the network. There will still be transient electrical service outages to the customers that the distribution subtations serves.

Taking into account (a) which mobile network infrastructure sites (i.e. base stations) are critical to service and which cells they serve, (b) the corresponding meter ID, (c) the distribution substation (UEs) that rely on these base stations, (d) the remaining UPS capacity available in the sites, it is possible for the DSO to plan the 'switch on / switch off process' to avoid any interruption of service. This is done by selective ordering of the switch on / switch off activity, to avoid exhausting any mobile network infrastructure UPS - especially where this base station (etc.) serves to enable communication services to a distribution substation.

Note that in figure 6.X.1-3, the cell in which each is located is served by a base station that can be affected by 'switching off.' It is also known to the DSO that e.g. DS2 is served by A and (secondarily) by base station B. Knowledge of this redundancy can also be of benefit to the planning of the DSO, to prevent in the worst case that both base stations UPS capacity is exhausted and there is no way to restore energy service to these sites.

In order to support the process described above above, another example of dynamic real-time information is the ‘real’ back up power available at the base station, at any moment in time; the intention is to see how much time the DSO has to restore the power before service interruption compromises the MNO's operation.

### 6.X.2	Details

Use case actors

DSO network operations center 'management system'

The DSO network operations center management system (DSO-MS) maintains operational information to inform DSO network operations.

MNO network operations center 'management system'

The MNO network operations center management system (MNO-MS) has and can expose operational information to DSOs  concerning the network's configuration and status.

Use case service flow

Preconditions:

There is a feeder, whose operation requires smart energy services. The smart energy services are available through DSO equipment RTUs. These RTUs are connected with a router, a CPE in the DSO site, that supports a mobile telecommunications interface, a UE.

The DSO can obtain information from each UE in the DSO network. The DSO-MS is aware of the Base station ID of the serving base station for each UE.

On a regular basis, e.g. daily, the DSO-MS obtains 'static information' from the MNO-MS. The DSO-MS is aware which base stations each of the DSO's UE camp on. The DSO-MS is also aware of which base stations rely on which Distribution Substation.

Service Flow: MNO-DSO coordination to achieve rapid energy service outage recovery

Figure 6.X.2-1: Timeline for Restoration of a Distribution Substation

1.	The DSO-MS uses the API to identify an energy service outage at a particular Distribution Substation (or set of Distribution Substations.)

This is shown in Figure 6.X.2-1 as the time of the outage incident.

2.	The DSO-MS uses the API to request information from the MNO-MS, to identify the UPS capacity of the base stations in the vicinity of the outage, where the distribution substations will need to be switched on and off. This is shown in figure 6.X.2-1 as a, b, c, d which correspond to base stations A, B, C and D. 

This request may be done repeatedly, over time, so that the DSO-MS can track the status of the MNO-MS.

3.	The DSO-MS can use the API to inform the MNO-MS of which sites (using the meter ID known by both the MNO and the DSO). The DSO can inform the MNO in advance of a planned outage, e.g. when switching on and off will take place.

4.	The DSO will actively switch on and off the medium voltage topology at the different distribution stations seeking to establish a stable and sufficient topology. The DSO will prioritize switching involving DS1 so that the UPS of base station A is not exhausted, because 'a' will expire first as shown in Figure 6.X.2-1.

5.	A stable and sufficient medium voltage distribution topology is established without exhausting any of the UPS capacity of the base stations and other critical mobile infrastructure sites.

Post-conditions:

The DSO-MS has informed the MNO-MS before, during and after an energy service outage.

The DSO-MS has been able to obtain dynamic UPS information corresponding to mobile infrastructure sites throughout the recovery process.

Service Result:

Energy service is restored to the MNO sites and to the rest of the DSO's energy service customers efficiently, without requiring mobile manual intervention.

### 6.X.3	Potential Requirements

The 5G 3GPP management system shall support a mechanism (e.g. an API) to expose the following information to the DSO:

1. Initial configuration information is provided by the MNO to the DSO.

The DSO is able to receive information concerning the base stations serving the DSO, like base station Ids that serve UEs deployed by the DSO as part of DSO infrastructure.

Query: DSO provides a list of meter Ids and/or latitude-longitude

Reply: the MNO responds with a list of base stations Ids that correspond to these meter IDs with the following information for each entry:

-	base station ID;

-	UPS capacity [in minutes];

-	list of base station IDs that can serve as a back up for this base station [and entries for those base stations].

NOTE 1:	For other critical mobile infrastructure, such as data centers, without which the mobile network cannot function, the MNO-MS can return a meter ID and UPS capacity without the base station ID information.

2. Notification of service interruption - DSO informs the MNO of energy service interruption

The 5G system shall support an mechanism by which a DSO notifies the MNO of an energy service interruption with the following information elements:

-	regions in which the service interruption occurs (including e.g. meter IDs and/or latitude-longitude affected);

-	[expected] start time of the service interruption;

-	expected endtime of service interruption.

NOTE 2:	The DSO-MS can inform the MNO-MS of such disruptions if they are planned reconfigurations or to warn the MNO of recovery procedures that will cause transient (short duration) outages in sites.

3. Request for status of remaining uninterruptable power supply capacity - DSO requests the MNO to provide UPS capacity for specific sites, based on meter ID.

The 5G system shall support an mechanism by which a DSO requests the MNO to provide remaining autonomous energy storage capacity (e.g. in units of minutes  of expected remaining service) corresponding to a energy meter ID (known to both the MNO and DSO.)

4. Notification of service interruption - DSO informs the MNO of the end of the energy service interruption

The 5G system shall support an mechanism by which a DSO notifies the MNO of the end of an energy service interruption with the following information elements:

-	end time of the service interruption

-	regions in which the service interruption has been resolved (including e.g. meter IDs affected)

End of modification