| 3GPP TS 28.318 draft-V0.3.0(2023-11) |  |
| --- | --- |
| Technical Specification |  |
| 3rd Generation Partnership Project; Technical Specification Group Services and System Aspects; Management and Orchestration; Network and Service Operations for Energy Utilities (NSOEU) (Release 18) |  |
| The present document has been developed within the 3rd Generation Partnership Project (3GPP TM) and may be further elaborated for the purposes of 3GPP. The present document has not been subject to any approval process by the 3GPP Organizational Partners and shall not be implemented. This Specification is provided for future development work within 3GPP only. The Organizational Partners accept no liability for any use of this Specification. Specifications and Reports for implementation of the 3GPP TM system should be obtained via the 3GPP Organizational Partners' Publications Offices. |  |

3GPP Postal address 3GPP support office address 650 Route des Lucioles - Sophia Antipolis Valbonne - FRANCE Tel.: +33 4 92 94 42 00 Fax: +33 4 93 65 47 16 Internet http://www.3gpp.org

Copyright Notification No part may be reproduced except as authorized by written permission. The copyright and the foregoing restriction extend to reproduction in all media. © 2023, 3GPP Organizational Partners (ARIB, ATIS, CCSA, ETSI, TSDSI, TTA, TTC). All rights reserved. UMTS™ is a Trade Mark of ETSI registered for the benefit of its members 3GPP™ is a Trade Mark of ETSI registered for the benefit of its Members and of the 3GPP Organizational Partners LTE™ is a Trade Mark of ETSI registered for the benefit of its Members and of the 3GPP Organizational Partners GSM® and the GSM logo are registered and owned by the GSM Association

Contents

Foreword	5

Introduction	6

1	Scope	7

2	References	7

3	Definitions of terms, symbols and abbreviations	8

3.1	Terms	8

3.2	Symbols	9

3.3	Abbreviations	9

4	Overview	9

4.1	General	9

4.2	Background	10

5	Requirements	10

5.1	General	10

5.2	Exposing performance and prediction information for high availability	10

5.2.1	Description	10

5.2.2	Requirements	11

5.3	Exposed coordinated recovery requirements	12

5.3.1	Description	12

5.3.2	Requirements	13

6	Informational model definitions	14

6.1	Imported and associated information	14

6.2	Class diagrams	14

6.3	Class definitions	14

6.4	Attribute definitions	14

6.5	Additional gNB Performance Measurements and KPI for NSOEU	14

6.5.1	Performance Measurements	14

6.5.1.1	Total cell In-Service duration	14

6.5.1.2	Total cell outage duration	15

6.5.1.3	Average cell outage duration	15

6.5.1.4	Cell AvailabilityNRCellDU	16

6.5.1.5	Cell AvailabilityNRCellCU	16

6.5.2	KPI definitions	16

6.5.2.1	General	16

6.5.2.2	Availability KPI	16

6.5.2.2.1	KPI in terms of absolute time	16

6.5.2.2.1.1	Cell Availability KPI	16

6.5.2.2.1.2	Radio access network availability KPI	17

7	Normative Procedures	17

7.1	Energy utility and telecommunication coordinated rapid recovery of energy service procedure	17

7.1.1	General	17

7.1.2	Signal flow	18

8	Stage 3 definitions	20

Annex A (informative):  Procedures	20

A.1	Exposing performance and prediction information for high availability	20

A.1.1	DSO is trusted and supported by network operator	20

A.1.1.1	General	20

A.1.1.2	Signal flow	20

A.2	ManagementDataCollection: Exposing performance and prediction information for high availability	26

Annex B (informative): Coordinated energy service recovery business relationship model	30

Annex C (informative): Coordinated energy recovery use cases supported	30

C.1	General	30

C.2	Scenario #1: Energy service recovery with redundant energy distribution topology	31

C.3	Scenario #2: Energy service recovery without redundant energy distribution topology	35

Annex <X> (informative): Change history	39

# Foreword

This Technical Specification has been produced by the 3rd Generation Partnership Project (3GPP).

The contents of the present document are subject to continuing work within the TSG and may change following formal TSG approval. Should the TSG modify the contents of the present document, it will be re-released by the TSG with an identifying change of release date and an increase in version number as follows:

Version x.y.z

where:

x	the first digit:

1	presented to TSG for information;

2	presented to TSG for approval;

3	or greater indicates TSG approved document under change control.

y	the second digit is incremented for all changes of substance, i.e. technical enhancements, corrections, updates, etc.

z	the third digit is incremented when editorial only changes have been incorporated in the document.

In the present document, modal verbs have the following meanings:

shall		indicates a mandatory requirement to do something

shall not	indicates an interdiction (prohibition) to do something

The constructions "shall" and "shall not" are confined to the context of normative provisions, and do not appear in Technical Reports.

The constructions "must" and "must not" are not used as substitutes for "shall" and "shall not". Their use is avoided insofar as possible, and they are not used in a normative context except in a direct citation from an external, referenced, non-3GPP document, or so as to maintain continuity of style when extending or modifying the provisions of such a referenced document.

should		indicates a recommendation to do something

should not	indicates a recommendation not to do something

may		indicates permission to do something

need not	indicates permission not to do something

The construction "may not" is ambiguous and is not used in normative elements. The unambiguous constructions "might not" or "shall not" are used instead, depending upon the meaning intended.

can		indicates that something is possible

cannot		indicates that something is impossible

The constructions "can" and "cannot" are not substitutes for "may" and "need not".

will		indicates that something is certain or expected to happen as a result of action taken by an agency the behaviour of which is outside the scope of the present document

will not		indicates that something is certain or expected not to happen as a result of action taken by an agency the behaviour of which is outside the scope of the present document

might	indicates a likelihood that something will happen as a result of action taken by some agency the behaviour of which is outside the scope of the present document

might not	indicates a likelihood that something will not happen as a result of action taken by some agency the behaviour of which is outside the scope of the present document

In addition:

is	(or any other verb in the indicative mood) indicates a statement of fact

is not	(or any other negative verb in the indicative mood) indicates a statement of fact

The constructions "is" and "is not" do not indicate requirements.

# Introduction

The present document addresses management and orchestration services to support network operations related to energy utilities, an industry sector that uses telecommunications extensively.

There is a cross-dependency between the power supply provided to the MNO's network infrastructure by the energy utility, and the telecommunications connectivity service provided to the DSO's network infrastructure by the MNO. Diverse applications are used to operate and manage energy systems. These applications require very high communication service availability. High availability of the energy system directly benefits the availability of the 5G system.

# 1	Scope

The present document provides normative specifications of Stage 1, stage 2, and stage 3 to realize network and service operations to support energy utility use cases by 5G networks.

# 2	References

The following documents contain provisions which, through reference in this text, constitute provisions of the present document.

-	References are either specific (identified by date of publication, edition number, version number, etc.) or non-specific.

-	For a specific reference, subsequent revisions do not apply.

-	For a non-specific reference, the latest version applies. In the case of a reference to a 3GPP document (including a GSM document), a non-specific reference implicitly refers to the latest version of that document in the same Release as the present document.

[1]	3GPP TR 21.905: "Vocabulary for 3GPP Specifications".

[2]	DIRECTIVE (EU) 2019/ 944 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL - of 5 June 2019 - on common rules for the internal market for electricity and amending Directive 2012/ 27/ EU (europa.eu)
https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32019L0944&from=EN

[3]	IEC TC 57 https://www.iec.ch/ords/f?p=103:7:511571509228708::::FSP_ORG_ID,FSP_LANG_ID:1273,25

[4]	3GPP TS 32.130: "Telecommunication management; Network sharing; Concepts and requirements"

[5]	IEC "Bringing intelligence to the grid", International Electrotechnical Commission, Geneva, Switzerland, 2018.  https://www.iec.ch/basecamp/bringing-intelligence-grid <accessed: 12.7.23>

[6]	IEEE SMARTGRID, "Standards", IEEE, 2023. https://smartgrid.ieee.org/about-ieee-smart-grid/standards <accessed: 12.7.23>

[7]		Sendin, A., Stafford, J., Grilli, A., "Utilities and Telecommunications in a Nutshell", EUTC, Ediciones Experiencia, 2022.

[8]	3GPP TS 22.104, "Service requirements for cyber-physical control applications in vertical domains; Stage 1".

[9]	3GPP TS 22.261, "Service requirements for the 5G system; Stage 1"

[10]	IEC TR 61000-3-6 Electromagnetic compatibility (EMC) - Part 3-6: Limits - Assessment of emission limits for the connection of distorting installations to MV, HV and EHV power systems.

[11]	IETF RFC 1628, "UPS Management Information Base", May 1994.

[12]	ETSI ES 202 336-3: "Environmental Engineering (EE); Monitoring and Control Interface for Infrastructure Equipment (Power, Cooling and Building Environment Systems used in Telecommunication Networks); Part 3: AC UPS power system control and monitoring information model".

[13]	3GPP TS 28.622: "Telecommunication management; Generic Network Resource Model (NRM) Integration Reference Point (IRP); Information Service (IS)".

[14]	3GPP TS 28.552: "Management and orchestration; 5G performance measurements".

[15]	3GPP TS 28.554: "Management and orchestration; 5G end to end Key Performance Indicators (KPI)".

[16]	3GPP TS 28.541: " Management and orchestration; 5G Network Resource Model (NRM); Stage 2 and stage 3".

[17]	3GPP TS 38.473: "NG-RAN; F1 Application Protocol (F1AP)".

# 3	Definitions of terms, symbols and abbreviations

## 3.1	Terms

For the purposes of the present document, the terms given in 3GPP TR 21.905 [1] and the following apply. A term defined in the present document takes precedence over the definition of the same term, if any, in 3GPP TR 21.905 [1].

Distribution System Operator: an organization that is responsible for operating, ensuring the maintenance of and, if necessary, developing the distribution system in a given area to meet demands for the distribution of electricity.

NOTE 1:	The organization is responsible also for interconnections with other systems and for enduring the long term availability of the system. See DIRECTIVE (EU) 2019/ 944 [2].

Distribution Automation: A family of technologies, systems and processes (including sensors, actuators, processors, communication networks, switches, etc.) that enable the remote, real-time monitoring, operation, and optimization of utility distribution systems on the field.

Remote Terminal Unit: a host in a customer network.

NOTE 2: How this equipment is operated is out of the scope of 3GPP standardization.

Uninterruptable Power Supply: an independent source of energy that, for a limited time duration, can sustain operations normally despite an interruption of energy distribution services. [11][12]

Customer Premises Equipment: a component of communications infrastructure that is installed in the facility owned by a customer.

Energy Supply: The delivery of electricity to a physical location. This is typically realized by placing two or more wires coming from a DSO at a geographical location and connecting those wires to a metering device.

NOTE 3:	The output of the metering device provides electricity to a DSO customer. In the Utility Industry this is known as the point of common coupling (PCC) [10].

Energy Supply ID: A unique identity that is assigned by the DSO to every point where electric Energy Supply is provided to an energy consumer. Each physical component of a 5G network may be associated with one Energy Supply ID. Every MOI in a MIB that collectively represents the physical component may be associated with that same Energy Supply ID.

NOTE 4: 	Multiple physical components of the 5G network may share the same Energy Supply ID (e.g. co-located components such as CU, DU and RU may have the same Energy Supply ID) although it cannot be assumed that different physical components share the same Energy Supply ID (a specific physical implementation cannot be mandated). The site operator has sufficient knowledge to associate an Energy Supply ID with a specific physical 5G network component. This Energy Supply ID could optionally be associated with every MOI that collectively represents the physical component. It is assumed that the site operator will inform the MNO of this association.

Rapid Intervention: A procedure described in Annex C.3 for support of recovery of the energy system for distribution systems without redundant topology.\

Rapid Recovery: A procedure described in Annex C.3 for support of communication service.

site operator: A business entity who operates infrastructure on behalf of MNOs, in some networking scenarios, for base station(s) and/or cell site(s).

NOTE 4:	The site operator is the only entity to have a direct OAM&P connection to the network elements that comprise the site.

NOTE 5:	This entity supports telecommunications operations and management, e.g. in network sharing scenarios. The site operator is a Master Operator (MOP) as defined in 32.130. [4]

## 3.2	Symbols

Void.

## 3.3	Abbreviations

For the purposes of the present document, the abbreviations given in 3GPP TR 21.905 [1] and the following apply. An abbreviation defined in the present document takes precedence over the definition of the same abbreviation, if any, in 3GPP TR 21.905 [1].

CPE	Customer Premises Equipment

DA	Distribution Automation

DSO	Distribution System Operator

ESI	Energy Supply ID

PCC	Point of Common Coupling

RTU	Remote Terminal Unit

SCADA	Supervisory Control And Data Acquisition

UPS	Uninterruptable Power Supply

# 4	Overview

## 4.1	General

The present document specifies exposed management services that enable improved operation of energy utility networks used for energy distribution. Energy service can be logically considered as four components: generation, transmission, distribution and consumption points. In a typical energy system, there are few centralized generation facilities (e.g. nuclear, thermal and hydro plants), where nature's energy is converted into electricity. Then, there are a limited number of high power transmission lines covering great distance with the minimum of energy loss. Then, a great many sites are part of medium and low voltage distribution networks. The distribution system transforms and delivers energy to customers. Finally, there is an extremely large number of consumption points (i.e. every household, business, public infrastructure site such as traffic lights at an intersection.) This simple model of the energy service delivery system is depicted in Figure 4.1-1.

Figure 4.1-1: Energy service delivery system

Diverse standardized "smart grid" services are used to manage the energy system effectively - with high availability, safety and efficiency. IEC, IEEE and other organizations standardize these services. [5] [6] To support these services, diverse communication systems are employed, including optical fiber, mobile telecommunications, power line communications and others. The services are generally defined at the application layer, meaning that they can operate over any access. The choice of which access to employ is made by energy service operators, and is determined by many factors outside of the scope of the present document. In many deployments, the choice is to employ mobile telecommunications to support smart grid services. [7]

Since there are few energy generators and the requirements of transmission facilities are not changing that much over time, the focus for smart energy services and the communication systems that they rely on are mainly on distribution services. The distribution grid is the part of the energy system that is on the outer part of the system, the one closer to end-customers and, thus, the most extensive one. It is here that the energy system is changing fastest, as distributed energy generation, distributed energy storage and other trends disrupt the simpler top-down hierarchy of generation, transmission, distribution, consumption. Though there are smart grid services associated with consumption and distributed generation, these use cases and requirements have not been further developed as part of the present document.

Supporting the communication requirements of the distribution system is the focus of the present document. These networks, operated by Distribution System Operators (DSOs), aim at extremely high availability. The services employed in the distribution system include SCADA and DA [3], which can detect and correct abnormalities, reconfigure and restart services rapidly. If remote operations and monitoring is not available,  when the electrical grid operations need it, it can result in service outages of much longer duration, sometimes requiring manual intervention by a service technician sent to the affected site.

An important form of 'fate sharing' exists between mobile telecommunications networks and the energy system. If energy service interruptions persist, the mobile telecommunications network will also become unavailable once the sites' independent energy storage and generation capacity are exhausted. If the mobile telecommunications service is interrupted, smart grid services will also be interrupted in a significant number of sites, leading to increasing risk of energy service outages over time. These scenarios are considered further in the present document.

Telecom management service exposure requirements, procedures and solution set details are specified to improve communication service availability to DSOs.

## 4.2	Background

The topics described in clause 4.1 have been considered in stage 1 standardization in 3GPP. Relevant requirements are specified in TS 22.104 [8] and TS 22.261 [9]. These stage 1 service requirements were considered to motivate and scope an investigation of stage 1 telecom management requirements.

# 5	Requirements

## 5.1	General

Subclauses of clause 5 of the present document include use case descriptions and the stage 1 requirements.

## 5.2	Exposing performance and prediction information for high availability

### 5.2.1	Description

To monitor and control its distribution grid (see clause 4), the DSO uses thousands of 3GPP compatible UEs (User Equipment, [1]). These UEs are spread across a wide geographical area, just like the distribution grid the UEs support. The DSO uses the UEs to provide connectivity to the monitor and control infrastructure of the distribution grid. This infrastructure and its operation are outside the scope of the present document. This infrastructure has very high availability service requirements. To fulfil these requirements, highly available communication is required. To achieve this highly available communication, the DSO monitors performance of communications services they use. If and when the DSO deems it necessary, the DSO proactively activates additional communication services.

It is currently possible for a DSO to gather the following information autonomously, with no support of the standard defined in the present document.

The DSO knows the location (lat/long) of each of its UEs.

Because of a UE’s connectivity to the 3GPP network, details of the 3GPP connection (available in the UE radio module) are available to each UE.

The DSO knows the received signal strength at each UE.

The DSO knows the cellID of each UE.

The DSO knows the radio access technology providing the connection to each UE.

In addition to using the UEs to provide internet connectivity to the monitor and control infrastructure, the DSO regularly sends "over the top” signals (e.g. ICMP ping messages) between the UEs, and collects performance information on this traffic.  Example of this information include availability and latency in the entire data path connecting the UE with the DSO application server. This path may comprise other networks in addition to 3GPP networks, e.g. WAN networks.

The DSO is able to configure the frequency and granularity of the over-the-top data collection. Based on analysis of the collected over the top data, past and present, the DSO can determine, based on the current performance of the E2E connection, if a change to a backup communication system is merited.

Similar data is maintained by standards compliant 3GPP management systems. The DSO benefits from a means to supplement or replace the collected over-the-top data with information from the MNO 3GPP management system, as the data that is collected is more precise and specific to the 3GPP system instead of end-to-end. Using this data also benefits the DSO as they can more easily identify the root cause of problems, when they arise.

The use case is

- The DSO contacts the MNO 3GPP Management system.

- The DSO requests collection of performance measurements on specific cells or cells in a specific area, as described in Annex A.

- The DSO registers to receive reports of the performance measurements.

- The DSO can update or delete the configuration of the measurements or reports.

- Reports are generated according to the request.

### 5.2.2	Requirements

| Requirement label | Description | Related use cases |
| --- | --- | --- |
| REQ-5.2-1 | The 3GPP management system shall, subject to mobile network operator policy, regulatory requirements and contractual obligations, allow the DSO to request collection and reporting of the following PM data: - Average delay DL air-interface - Average delay UL on over-the-air interface - Average DL UE throughput in gNB - Average UL UE throughput in gNB - Packet Uu Loss Rate in the DL per DRB per UE - UL PDCP SDU Loss Rate - Cell/network availability | Exposing performance and prediction information for high availability |
| REQ-5.2.2 | The 3GPP management system shall, subject to mobile network operator policy, regulatory requirements and contractual obligations, allow the DSO to specify the collection of performance information concerning specific cells or specific geographical area. | Exposing performance and prediction information for high availability |

## 5.3	Exposed coordinated recovery requirements

### 5.3.1	Description

Energy system recovery of the distribution system is needed following both planned and unplanned interruptions of energy service. Annex Y provides background information on the two supported use cases, corresponding the requirements listed in clause 5.X.2.

In summary, the following functionality is supported for both use cases described in Annex C.2 and C.3.

-	The MNO can provide information regarding critical sites to the DSO, including their Energy Supply ID, UPS capacity of the site, base station ID if applicable. This information does not change often, but can be updated over time.

-	The DSO can inform the MNO of the start and stop of energy outages, including the list of affected sites or locations.

-	The DSO can request information from the MNO including the UPS capacity of the site, which may change over time.

The DSO can then perform remotely controlled operations to restore energy distribution service taking into account the UPS capacity of sites that are essential to telecommunication service and feasibility of MNO's intervention at a site. Specifically, DSOs will strive to restore energy distribution support to substations that rely on telecommunications for remote operations, while communication is still possible. This process is termed Rapid Recovery and is described in annex C.2. The process of recovery in these scenarios is termed Rapid Intervention.

The following functionality is supported for energy system recovery in scenarios in which there is no redundant energy distribution topology, as described in Annex C.3.

-	The DSO can provide the MNO with the expected restoration time of energy distribution services affecting a specific set of MNO site, if the energy distribution service recovery were to proceed without the possibility of remote operations.

NOTE 1:	This is the restoration time in cases that the DSO assumes that no telecommunication is possible to restore energy service. This is the 'normal situation' after roughly 15 minutes of energy outage throughout most of the world.

-	The DSO can provide the MNO with the distribution lines restoration time i.e. expected beginning time of MNO’s Rapid Intervention to end an energy outage affecting a specific set of sites or locations.

NOTE 2:	This is the time where electrical distribution service can be restored, e.g. after repairing a damaged distribution line.

-	The DSO can provide the MNO with the expected duration of Rapid Intervention.

- 	The DSO can provide the MNO with the prioritised location or sites where the distribution energy services are more critical to be restored quickly.

NOTE 3:	The DSO is aware of which base stations serve the UEs in their distribution substations, as each UE captures identifiers including the eNB-LCID. If the MNO is aware of both the timing of Rapid Intervention requirements (REQ-5.3-5 and REQ-5.3-6 below)  and the priority locations, there is the possibility the MNO can arrange to support telecommunication services where and when they are essential.

-	The MNO can provide the DSO with information regarding which MNO sites can provide Rapid Intervention service to the DSO at what time and for how long, so the DSO can restore energy service at an arranged time, in an arranged region, for the arranged duration.

### 5.3.2	Requirements

The following requirements apply to use cases with coordinated recovery with redundant topology (see Annex C.2).

| Requirement label | Description | Related use cases |
| --- | --- | --- |
| REQ-5.3-1 | The 3GPP management system should support, subject to operator policy, regulatory requirements and contractual obligations, for the DSO to obtain the following information from the MNO. For each 'site' for which energy service is critical to the MNO's services the following information is provided: - Energy Supply ID; - UPS Capacity of the site (Total installed capacity and remaining capacity at the time at which this information is obtained) The units of remaining capacity in minutes of operation of the site; - Base Station ID (if applicable. The site may not be a base station, e.g. it could be data centre or other facility.) | Energy service recovery with redundant energy distribution topology |
| REQ-5.3-2 | The 3GPP management system should support, subject to operator policy, regulatory requirements and contractual obligations, the capability to enable the DSO to provide the MNO with information concerning either the beginning time or end time, or both, of an energy service outage and the effected and or restored sites or locations, including at least: - Beginning time of outage; - Expected ending time of the outage. This applies only for redudant topology recovery, as described in Annex C.2. - Energy Supply IDs of affected sites; - Base Station IDs (if applicable. The site may not be a base station, e.g. it could be data centre or other facility.) | Energy service recovery with redundant energy distribution topology |
| REQ-5.3-3 | The 3GPP management system should support, subject to operator policy, regulatory requirements and contractual obligations, the capability to enable the DSO to obtain information from the MNO concerning the UPS capacity corresponding to a specific site including at least: - UPS capacity (in some units of duration). | Energy service recovery with redundant energy distribution topology |

The following requirements apply to use cases with coordinated recovery without redundant topology (see Annex C.3).

| Requirement label | Description | Related use cases |
| --- | --- | --- |
| REQ-5.3-5 | This requirement includes REQ-5.3-2, with the following extensions: - the expected restoration time of energy distribution services, such as repair or replacement of interrupted distribution cables, etc. for effected sites; - the expected start time, serving base stations and prioritized locations of Rapid Intervention; - the expected duration and, serving base stations and location of Rapid Intervention. | Energy service recovery without redundant energy distribution topology |
| REQ-5.3-6 | The 3GPP management system should support, subject to operator policy, regulatory requirements and contractual obligations, the capability to enable the MNO to provide the DSO with information concerning: - the time and duration for which MNO's communication service for DSO Rapid Recovery will be enabled for a particular site or location. | Energy service recovery without redundant energy distribution topology |

# 6	Informational model definitions

## 6.1	Imported and associated information

## 6.2	Class diagrams

## 6.3	Class definitions

## 6.4	Attribute definitions

## 6.5	Additional gNB Performance Measurements and KPI for NSOEU

### 6.5.1	Performance Measurements

#### 6.5.1.1	Total cell In-Service duration

a)	This measurement provides the total time duration for which an active cell in a gNB-DU remains In-Service. The gNB-DU reports the Service Status of the Active cells to the gNB-CU. If the Service Status value is “In-Service” it means the active cell is operational, and it is able to serve UEs. The active cells are considered as In-Service until the gNB-DU reports the Service Status as “Out-Of-Service” to the gNB-CU. The gNB-DU reports the Service Status to gNB-CU using the GNB DU CONFIGURATION UPDATE messages.

b)	CC.

c)	This measurement is obtained in two steps. First step involves determining the time interval between the time stamps Tin and Tout. Where Tin is the time stamp when the Service Status is reported as “In-Service” for a cell by gNB-DU to gNB-CU and Tout is the time stamp when Service Status is reported as “Out-Of-Service” by gNB-DU to gNB-CU for the same cell in the GNB DU CONFIGURATION UPDATE messages. Second step involves summing up all these time intervals of a cell which fall within the desired observation time frame Tobv. This gives total in-service duration of a cell within the observation time frame Tobv. Where, Tobv is monitorGranularityPeriod  as defined in TS 28.622[13] clause 4.3.16.

d)	Each measurement is an integer value representing the number of minutes for which the cell was in-Service.

e)	SO.CellInServiceTotal.NCGI, where NCGI is NR Cell Global Identifier as defined in TS 28.541 [16]. The number of measurements is equal to the number of NCGIs (cells).

f)	GNBCUCPFunction.

g)	Valid for packet switching.

h)	5GS.

#### 6.5.1.2	Total cell outage duration

a)	This measurement provides the total time duration for which a cell in a gNB remains out of service. The gNB-DU reports the Service Status of the Active cells to the gNB-CU. If the Service Status value is “Out-Of-Service” it means the active cell is not operational, and it is not able to serve UEs. The active cells are considered as Out-of-Service until the gNB-DU reports the Service Status as In-Service to the gNB-CU. The gNB-DU reports the Service Status to gNB-CU using the GNB DU CONFIGURATION UPDATE message

b)	CC.

c)	This measurement is obtained in two steps. First step involves determining the time interval between the time stamps Tout and Tin. Where Tout is the time stamp when Service Status is reported as “Out-Of-Service” by gNB-DU to gNB-CU for a cell and Tin is the time stamp when the Service Status is reported as “In-Service” for the same cell by gNB-DU to gNB-CU in the GNB DU CONFIGURATION UPDATE messages. Second step involves summing up all these time intervals of a cell which fall within the desired observation time frame Tobv. This gives total outage duration of a cell within the observation time frame Tobv. Where, Tobv is monitorGranularityPeriod  as defined in TS 28.622 [13] clause 4.3.16.

d)	Each measurement is an integer value. It represents the number of seconds for which the cell was Out-Of-Service

e)	SO.CellOOSTimeTotal.NCGI, where NCGI is NR Cell Global Identifier as defined in TS 28.541 [16]. The number of measurements is equal to the number of NCGIs (cells).

f)	GNBCUCPFunction.

g)	Valid for packet switching.

h)	5GS.

#### 6.5.1.3	Average cell outage duration

a)	This measurement provides the average time duration of an outage i.e. average time for which a cell in a gNB-DU remains out of service per outage. The gNB-DU reports the Service Status of the Active cells to the gNB-CU. If the Service Status value is “Out-Of-Service” it means the active cell is not operational, and it is not able to serve UEs. The active cells are considered as Out-of-Service until the gNB-DU reports the Service Status as In-Service to the gNB-CU. The gNB-DU reports the Service Status to gNB-CU using the GNB DU CONFIGURATION UPDATE message.

b)	CC.

c)	This measurement is obtained by dividing the measurement SO.CellOOSTimeTotal.NCGI (clause 7.X.1.3.1) with Noutage where Noutage  is the number of occurrences of outage for that cell within the desired observation time frame Tobv where, Tobv is monitorGranularityPeriod  as defined in clause 4.3.16 of TS 28.622 [13].This gives an average duration per outage of a cell.

d)	Each measurement is an integer value representing the average number of seconds for which the cell was Out-Of-Service per outage occurrence.

e)	SO.CellOOSTimeAverage.NCGI, where NCGI is NR Cell Global Identifier as defined in TS 28.541 [16]. The number of measurements is equal to the number of NCGIs (cells).

f)	GNBCUCPFunction.

g)	Valid for packet switching.

h)	5GS.

#### 6.5.1.4	Cell AvailabilityNRCellDU

a) This measurement provides the amount of time that the NRCellDU part of the cell is available to provide services to UEs within a given measurement window (Twin).  It is computed by the NRCellDU as the arithmetic sum of the amount of time that the NRCellDU is unlocked and enabled to serve UEs in each measurement window Twin.

b) cc

c) This measurement is obtained as: CellAvailNRCellDU = TOSTNRCellDU=Enabled && T(ASTNRCellDU=Unlocked)Twin*100, where CellAvailNRCellDU is the availability of the NRCellDU, Twin is the measurement window, T(OSTNRCellDU=Enabled) is the total amount of time that the operational state attribute(OST) of the NRCellDU is enabled in a given Twin, and T(ASTNRCellDU=Unlocked) is the total amount of time that the administrative state attribute(AST) of the NRCellDU is unlocked in a given Twin.

d) Two values: The CellAvailNRCellDU from 0 to 100 and the corresponding Twin.

e) CellAvailNRCellDU

f) NRCellDU

g) Valid for packet switched traffic

h) 5GS

#### 6.5.1.5	Cell AvailabilityNRCellCU

a) This measurement provides the amount of time that the NRCellCU part of the cell is available and providing services within a given measurement window (Twin).  It is computed by the NRCellCU as the arithmetic sum of the amount of time that the NRCellCU is unlocked and enabled in each measurement window Twin.

b) cc

c) This measurement is obtained as: CellAvailNRCellCU = TOSTNRCellCU=Enabled && T(ASTNRCellCU=Unlocked)Twin*100, where CellAvailNRCellCU is the availability of the NRCellCU, Twin is the measurement window, T(OSTNRCellCU=Enabled) is the total amount of time that the operational state attribute(OST) of the NRCellCU is enabled in a given Twin, and T(ASTNRCellCU=Unlocked) is the total amount of time that the administrative state attribute(AST) of the NRCellCU is unlocked in a given Twin.

d) Two values: The CellAvailNRCellDU value from 0 to 100 and the corresponding Twin.

e) CellAvailNRCellCU

f) NRCellCU

g) Valid for packet switched traffic

h) 5GS

### 6.5.2	KPI definitions

#### 6.5.2.1	General

The KPI defined in this clause is in accordance with the KPI definitions template described in [15].

#### 6.5.2.2	Availability KPI

##### 6.5.2.2.1	KPI in terms of absolute time

###### 6.5.2.2.1.1	Cell Availability KPI

a)	CellAvailAvgTimeCU

b)	This KPI describes the Average availability of cells in a gNB-CU for providing services to UEs. Cell availability is the time duration for which an active cell in a gNB-CU stays “In-Service”. This KPI provides “average availability time duration per cell” in a gNB-CU. It is a time duration value obtained in “seconds”.

c)	It is obtained by summing all measurements of SO.CellInServiceTotal.NCGI (as defined in TS 28.552 [14] clause ) for all the gNB-DUs GNB-DU CONFIGURATION UPDATE messages in a gNB-CU and then dividing the result by Ncell where Ncell  is the total number of active cells (NR CGIs) present in Cells Status List in GNB-DU CONFIGURATION UPDATE messages of all the gNB-DUs in a gNB-CU  as explained in TS 38.473 [17] clause 9.2.1.7.

d)	GNBCUCPFunction

###### 6.5.2.2.1.2	Radio access network availability KPI

a)	NwAvailAvgTimeRAN

b)	This KPI describes the Average availability of a network in terms of cells availability for providing services to UEs. Cell availability is the time duration for which an active cell in a network stays “In-Service”. This KPI provides “average availability time duration per cell” of an entire RAN sub-network. It is a time duration value obtained in “seconds”

c)	It is obtained by summing all measurements of CellAvailAvgTimeCU and then dividing the result by Ncu where Ncu  is the total number of gNB-CUs present in the RAN network.

d)	SubNetwork

# 7	Normative Procedures

## 7.1		Energy utility and telecommunication coordinated rapid recovery of energy service procedure

### 7.1.1		General

#### Coordinated energy service recovery requirements are given in clause 5.3. The use cases supported are described in Annex C.

#### The functionality supported by the signalling flow is:

-	Inititialization (to initialize the rest of the defined operations). As interaction between MnSs involves creation of a MOI and other objects, the listed operations precede the other operations listed below.

-	MNO informs DSO of changes (e.g. to update the list of essential sites and their related information).

-	DSO updates the information (e.g. to update the expected end of an energy outage).

-	DSO retrieves the changes (e.g. to query the UPS available time for a site from the MNO).

### 7.1.2	Signal flow

1. createMOI (DsoRapidRecovery) Request

DSO

(MnS Consumer)

MNO

(MnS Producer)

3. createMOI Response

2. MOI will be created

6. createMOI(IntfSubscriptionCtrl) Request

4. IOC containing

UPS info instantiated

7. MOI will be created

8. CreateMOI Response

Initialization

9. notifyMOIAttributeValueChanges

10. modifyMOIAttributes Request

11. modifyMOIAttributesResponse

12. getMOIAttributeRequest

13. getMOIAttributeResponse

MNO informs DSO of the changes

DSO updates the information

DSO retrieves the changes

5. Notify MOI Creation

Figure 7.1.2-1: Coordinated Rapid Recovery and strategic outage plan Procedure

1.	In order to be able to provide energy service outage and recovery related information for MNO, DSO sends createMOI request for creating an IOC which contains information attributes for outage and rapid recovery by DSO such as:

a)	Time stamp of DSO's energy distribution service outage

b)	Locations (latitude-longitude pair and Energy Supply Id) where DSO's energy service outage occurs

c)	Time by when DSO expects restoration of its distribution services for MNO.

d)	Time when DSO has restored its energy transmission service and starts expecting rapid intervention by MNO.

e)	Time duration for which DSO expects to require MNO's rapid intervention for being able to use smart energy services to restore its energy distribution services.

f)	Information of locations where for example DSO substations need to restore distribution services on priority.

g)	The time at which MNO will actually be able to provide rapid intervention to DSO.

h)	The time duration for which MNO will actually be able to provide rapid intervention to DS

i)	The information of locations where MNO will actually be able to provide rapid intervention to DSO.

j)	The time stamp at which DSO's energy distribution services are finally restored.

k)	The information of locations where (e.g. DSO substations) distribution energy service has been finally restored.

NOTE 1: Not all of the above will be configured at the time of IOC creation.

Editor's Note: The list of items a-k must be replaced by a definition of an DSORapidRecovery IOC. The specification remains incomplete until this IOC are defined.

2.	MnS producer in MNO creates the MOI that contains these information attribute records for the applicable sites. Which sites are applicable depends on the attributes sent in the createMOI request in step 1.

3.	createMOI response is sent by MNO MnS producer to DSO.

4.	The MNO creates an instance of the UPSInfo IOC. This IOC allows representing the UPS related properties of a cell site. It is name-contained by IOC created in step 1. This is required by DSO from MNO to achieve coordinated intelligent outage planning by DSO during its energy outage recovery. UPS related information of MNO site has to be:

a)	Information on whether the MNO site has UPS installed/available or not.

b)	Information on the total UPS backup capacity installed in MNO site (suggested granularity: number of in minutes) i.e. the MNO site UPS backup has installed capacity of how many minutes.

c)	Information on the status of the remaining UPS backup capacity (suggested granularity: number of minutes) available for MNO site at any given time.

d)	The identity of DSO energy supply meter present in MNO site.

e)	The identity of base station present in MNO site.

Editor's Note: The list of items a-e must be replaced by a definition of an UPSInfo IOC. The specification remains incomplete until this IOC are defined.

5.	Upon creation of the UPSInfo instance, the MNO notifies the DSO using a NotifyMOICreation operation.

Editor's Note: How to properly express step 5 is FFS.

6.	In order to be able to get automatically notified of any changes in the attributes information in the MOI, DSO sends createMOI request for NtfSubscriptionControl IOC to MNO.

NOTE 2: 	In step 6, if done, a subscription is created such that, subject to parameters in the NtfSubscriptionControl IOC, notifications are sent from the MNO to the DSO. This allows, for example, the MNO to notify the DSO of changes in the UPS backup capacity over time. This step is shown as step 9 below.

7.	MNO MnS producer creates the MOI for NtfSubscriptionControl IOC.

8.	createMOI response is sent by MNO MnS producer to DSO.

9.	If there is a change in the attributes, the MNO sends a notifyMOIAttributeValueChanges notification to inform DSO about the changes.

NOTE 3:	In steps 10 and 11 below, there is a change in an attribute of the MOI. This is done by DSO to update MNO on the changes, e.g. information about an expected outage for a specific site.

10.	DSO can modify/update any information like outage start time stamp by sending a modifyMOIAttributes request to MNO. DSO can create/read/update/delete (CRUD operations) the information in the MOI by using provisioning MnS (defined in TS 28.532).

11.	MNO MnS producer provides the modify response to the DSO.

NOTE 4:	In steps 12 and 13 below, the DSO MnS requests and receives respectively the current value of one or more attribute(s).

12.	DSO can also query the UPS related information as and when required by using the getMOIAttributes operation. For example the information could include identity of DSO energy supply meter, MNO base station, remaining UPS backup duration of a particular site, etc. DSO requests the required information from the MNO by using getMOIAttributes operation.

13.	MNO provides the required information in the response to the DSO.

# 8	Stage 3 definitions

Annex A (informative): 
Procedures

## A.1	Exposing performance and prediction information for high availability

### A.1.1	DSO is trusted and supported by network operator

#### A.1.1.1	General

In this scenario the DSO consumer, is recognized by the network operator as a trusted entity that is allowed to read from and write to selected producers and corresponding MOIs in one or more MIBs controlled by the network operator. In this basic scenario, the network operator supports the DSO consumer by providing specific necessary information such as a full Distinguished Name of producer(s) and MOI(s), by some means not described in this TS.

#### A.1.1.2	Signal flow

The DSO consumer wants to receive performance metric reports from a specific cell site. These reports are provided continuously over the monitoring interval with the requested granularity.  The DSO consumer is in possession of the following information:

the identity of the cell site: base station ID, or

the estimated location of the cell site antenna

NOTE: Based upon the identity of the cell site, the location of the cell site, or both, the MNO provides to the DSO the full DN and any required scoping parameters for a PerfMetricJob MOI, a ThresholdMonitor MOI and a NtfSubscriptionControl MOI.

Figure A.1.1.2-1

- PerfMetricJob

1.	The DSO consumer sends createMOI to the producer with the following parameters: managedObjectClass = PerfMetricJob, managedObjectInstance = {DN supplied by the MNO}, attributeListIn as defined in the following table:

| Attribute name | Value |
| --- | --- |
| administrativeState | - |
| operationalState | - |
| jobId | <string, chosen by DSO> |
| performanceMetrics | TBD <string> DRB.AirIfDelayDL_fliter, DRB.AirIfDelayUl_filter, DRB.UEThpDL, DRB.UEThpDL.QOS, DRB.UEThpDLSNSSAI, DRB.UEThpDL.PLMN, DRB.UEThpUL, DRB.UEThpUL.QOS, DRB.UEThpULSNSSAI, DRB.UEThpUL.PLMN, DRB.PacketLossRateUL, DRB.PacketLossRateUL.QOS, DRB.PacketLossRateUL.SNSSAI and cell/network availability |
| granularityPeriod | <integer, defined in seconds, chosed by DSO> |
| objectInstances | included if supplied by the MNO |
| rootObjectInstances | included if supplied by the MNO |
| reportingCtrl | fileReportingPeriod = <integer, multiple of granularity period, chosen by DSO> |
| _linkToFiles | - |

In this example, report files shall be stored on MnS producer and, on condition that an appropriate subscription is in place, inform the MnS consumer about the availability of new files and the file location using the notifyFileReady notification. Other reporting configurations are possible according to attribute settings.

2.	The producer creates “PerfMetricJob” data collection job and Files MOI to contain report information.

3.	The producer sends createMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| attributeListOut | name / value pairs of the attributes of the new object |
| status | OperationSucceeded ¦ OperationFailed |

The DSO consumer stores the attribute name/value pairs.

Metric production is now active on the in-scope object instances whose object class matches the object class associated to the specified performance metrics.

Repeat steps 1 - 3 for each cell site where performance metric information is wanted.

- ThresholdMonitor

4.	The DSO consumer sends createMOI for ThresholdMonitor to monitor the requirement performance measurements including measurement for latency, packet loss, throughput and cell/network availability, using the following parameters: managedObjectClass = ThresholdMonitor, managedObjectInstance = {DN supplied by MNO}, attributeListIn as defined in the following table:

| Attribute name | Value |
| --- | --- |
| administrativeState | - |
| operationalState | - |
| thresholdInfoList | list of ThesholdInfo <<datatype>>, one for each performance metric. chosen by DSO |
| monitorGranularityPeriod | <integer, defined in seconds, multiple of granularity period from PMJ MOI, chosen by DSO> |
| objectInstances | included if supplied by the MNO |
| rootObjectInstances | included if supplied by the MNO |

In this example, a ThresholdInfo datatype will be included for each performance metric that was included in the creation of the corresponding PerfMetricJob MOI.

[ThresholdInfo will also contain an attribute for the location (Lat/long, TAC, cellid). This is used to scope the object instance to be monitored.]

5.	The producer creates “ThresholdMonitor” data collection job.

6.	The producer sends createMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| attributeListOut | name / value pairs of the attributes of the new object |
| status | OperationSucceeded ¦ OperationFailed |

The DSO consumer stores the attribute name/value pairs.

Repeat steps 4 - 6 for each required MOI where threshold monitoring is required.

- NtfSubscriptionControl

7.	The DSO consumer sends createMOI for NtfSubscriptionControl to subscribe for the required notiifcations with the follows parameters: managedObjectClass = NtfSubscriptionControl, managedObjectInstance = {DN supplied by the MNO}, attributeListIn as defined in the following table:

| Attribute name | Value |
| --- | --- |
| notificationRecipientAddress | <string, address of the notification recipient>. |
| notificationTypes | notifyFileReady, notifyFilePreparationError, notifyThresholdCrossing |
| scope | included if supplied by the MNO |
| notificationFilter | - |

The address of the notification recipient is provided by the DSO. In this example, three notification types are allowed and none are filtered.

8.	The producer creates “NtfSubscriptionControl” job.

9.	The producer sends createMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| attributeListOut | name / value pairs of the attributes of the new object |
| status | OperationSucceeded ¦ OperationFailed |

The DSO consumer stores the attribute name/value pairs.

Repeat steps 7 - 9 for each cell required MOI where threshold monitoring is required.

A.1.1.3	Signal flow – completion

The DSO consumer wants to end performance metric reports from a specific cell site which was previously setup for performance metric reporting. For ultimate deactivation of metric production and threshold monitoring the MnS consumer should delete the job and monitor to free up resources on the MnS producer. Deletion of NtfSubscriptionControl is mandatory according to 28.622 4.3.22.1.

NOTE: The supporting network operator provides to the DSO the full DN and any required scoping parametes for a PerfMetricJob MOI, a ThresholdMonitor MOI and a NtfSubscriptionControl MOI.

Figure A.1.1.3-1

- PerfMetricJob

- The DSO consumer sends deleteMOI to the producer with the following parameters: baseObjectInstance = {DN supplied by the MNO}, scopeType, scopeLevel and Filter are optional and shall be included if supplied by the MNO.

- The producer deletes “PerfMetricJob” data collection job.

- The producr sends deleteMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| deletionList | LIST OF SEQUENCE <ManageedEntity DN, ManagedEntity class name> |
| status | OperationSucceeded ¦ OperationFailed ¦ OperationPartiallySucceeded |

Best effort synchronization applies; all managed objects selected for this operation will perform the operation if possible regardless of whether some managed objects fail to perform it. The managed objects selected for this operation are specified by information provided by the MNO.

When the "PerfMetricJob" is deleted, the ongoing reporting period shall be aborted, for streaming the ongoing granularity period.

- ThresholdMonitor

- The DSO consumer sends deleteMOI to the producer with the following parameters: baseObjectInstance = {DN supplied by the MNO}, scopeType, scopeLevel and Filter are optional and SHALL be included if supplied by the MNO.

- The producer deletes “ThresholdMonitor” data collection job.

- The producr sends deleteMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| deletionList | LIST OF SEQUENCE <ManageedEntity DN, ManagedEntity class name> |
| status | OperationSucceeded ¦ OperationFailed ¦ OperationPartiallySucceeded |

Best effort synchronization applies; all managed objects selected for this operation will perform the operation if possible regardless of whether some managed objects fail to perform it.

- NtfSubscriptionControl

- When the DSO consumer does not wish to receive notifications any more, it shall delete the corresponding NtfSubscriptionControl instance. The DSO consumer sends deleteMOI to the producer with the following parameters: baseObjectInstance = {DN supplied by the MNO}, scopeType, scopeLevel and Filter are optional and SHALL be included if supplied by the MNO.

- The producer deletes “NtfSubscriptionControl” job.

- The producr sends deleteMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| deletionList | LIST OF SEQUENCE <ManageedEntity DN, ManagedEntity class name> |
| status | OperationSucceeded ¦ OperationFailed ¦ OperationPartiallySucceeded |

# A.2	ManagementDataCollection: Exposing performance and prediction information for high availability

A.2.1	DSO is trusted but not supported by network operator

A.2.1.1	General

In this basic scenario the DSO consumer, is recognized by the network operator as a trusted entity that is allowed to read from and write to the management system.

A.2.1.2	Signal flow

The DSO consumer wants to receive performance measurement reports from one or more specific cell(s). The DSO consumer is in possession of the following information:

the identity of the cell site(s): base station ID, or

the estimated location(s) of the cell site antenna(s)

Figure A.2.1.2-1

- ManagementDataCollection

1.	The DSO consumer sends createMOI to the producer with the following parameters: managedObjectClass = ManagementDataCollection, managedObjectInstance = {DN of the producer}, attributeListIn as defined in the following table:

| Attribute name | Value |
| --- | --- |
| managementData | DRB.AirIfDelayDL_{plmnid}, DRB.AirIfDelayUl_{plmnid}, DRB.UEThpDL, DRB.UEThpDL.QOS, DRB.UEThpDLSNSSAI, DRB.UEThpDL.PLMN, DRB.UEThpUL, DRB.UEThpUL.QOS, DRB.UEThpULSNSSAI, DRB.UEThpUL.PLMN, DRB.PacketLossRateUL, DRB.PacketLossRateUL.QOS, DRB.PacketLossRateUL.SNSSAI cell/network availability |
| targetNodeFilter | - |
| areaOfInterest | 3..N polygon points OR list of NR Cell IDs |
| networkDomain | RAN |
| cpUpType | UP |
| sst | eMBB |
| collectionTimeWindow | startTime, endTime |
| reportingCtrl | fileReportingPeriod = <integer, multiple of granularity period, chosen by DSO> |
| dataScope | 5QI |

targetNodeFilter
The area of interest is defined by the area inside a convex polygon. Performance measurements shall be collected from cells having the antenna inside the polygon. The corners of the polygon are defined by latitude, longitude and altitude. Alternatively, the DSO my provide a list of NR Cell IDs that identify the specific cell which will provide the performance measurements.
The networkDomain is RAN, specifying that performance measurements are collected from the radio access network.
The cpUpType is UP, specifying that performance measurements are collected from user plane traffic.
The sst is eMBB, specifying that performance measurements are collected from eMBB traffic.

collectionTimeWindow
Specifies the start time and end time for the collection of performance measurements. This is selected by the DSO.

In this example, report files shall be stored on MnS producer and, on condition that an appropriate subscription is in place, inform the MnS consumer about the availability of new files and the file location using the notifyFileReady notification. Other reporting configurations are possible according to attribute settings.

dataScope
Specifies whether the required data is reported per S-NSSAI or per 5QI.

2.	The producer creates one or more “PerfMetricJob” data collection job(s) to collect the performance measurements.

3.	The producer sends createMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| attributeListOut | name / value pairs of the attributes of the new object |
| status | OperationSucceeded ¦ OperationFailed |

The DSO consumer stores the attribute name/value pairs.

Metric production is now active on the in-scope object instances whose object class matches the object class associated to the specified performance metrics.

Repeat steps 1 - 3 as needed for each required geographic area OR list of NR Cell IDs where performance metric information is wanted.

- ThresholdMonitor

4.	The DSO consumer sends createMOI for ThresholdMonitor to check for threshold crossings of performance measurements including measurement for latency, packet loss, throughput and cell/network availability, using the follows parameters: managedObjectClass = ThresholdMonitor, managedObjectInstance = {DN of the producer}, attributeListIn as defined in the following table:

| Attribute name | Value |
| --- | --- |
| administrativeState | - |
| operationalState | - |
| thresholdInfoList | list of ThesholdInfo <<datatype>>, one for each performance metric. chosen by DSO |
| monitorGranularityPeriod | <integer, defined in seconds, multiple of granularity period from PMJ MOI, chosen by DSO> |
| objectInstances | - |
| rootObjectInstances | - |

In this example, a ThresholdInfo datatype will be included for each performance metric that was included in the creation of the corresponding ManagementDataCollection MOI.

ThresholdInfo will also contain an attribute for the location (Lat/long, TAC, cellid). This is used to scope the object instance to be monitored.

5.	The producer creates “ThresholdMonitor” data collection job.

6.	The producer sends createMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| attributeListOut | name / value pairs of the attributes of the new object |
| status | OperationSucceeded ¦ OperationFailed |

The DSO consumer stores the attribute name/value pairs.

- NtfSubscriptionControl

7.	The DSO consumer sends createMOI for NtfSubscriptionControl to subscribe for the required notifcations with the following parameters: managedObjectClass = NtfSubscriptionControl, managedObjectInstance = {DN of the producer}, attributeListIn as defined in the following table:

| Attribute name | Value |
| --- | --- |
| notificationRecipientAddress | <string, address of the notification recipient>. |
| notificationTypes | notifyFileReady, notifyFilePreparationError, notifyThresholdCrossing |
| scope | included if supplied by the supporting site operator |
| notificationFilter | - |

The address of the notification recipient is provided by the DSO. In this example, three notification types are allowed and none are filtered.

8.	The producer creates “NtfSubscriptionControl” job.

9.	The producer sends createMOI response to the DSO consumer with output parameters as defined in the following table:

| Attribute name | Value |
| --- | --- |
| attributeListOut | name / value pairs of the attributes of the new object |
| status | OperationSucceeded ¦ OperationFailed |

The DSO consumer stores the attribute name/value pairs.

Repeat steps 7 - 9 for each required MOI where threshold monitoring is required.

Annex B (informative):
Coordinated energy service recovery business relationship model

From a functional perspective, the present document defines exposure of information between the DSO and the MNO in order to achieve coordinated energy service recovery.

This annex reports on the business relationship between the DSO and a MNO with regards to exposing information from cell/network sites. It might happen that some of these sites re not directly operated by the MNO the DSO has the contract with, but by a third party instead (e.g. other MNO or a TowerCos). The business relationship between the MNO and site operator(s), and the technical integration of their management system, shall remain opaque to the DSO

In the specific case of energy service recovery, the DSO provides information to the MNO regarding outages starting and stopping, where these outages will occur, expected times for recovery, and more. The MNO provides information pertaining to sites that are essential for providing telecommunication services relevant to the DSO. This interaction is shown in Figure B-1, below.

DSO

Sites:

S2

M

M

S1

Figure B.1: Business relationships and interaction relevant to coordinated energy recover

In Figure B-1, the sites are differentiated by the letters M, S1 and S2. The M sites refer to those operated by the MNO, those with S and subscript values represent sites operated by third parties, e.g. a shared network cell site. The information that is shared with the DSO refers to these sites, including:

-	their Energy Supply ID

-	their estimated remaining UPS capacity

Annex C (informative):
Coordinated energy recovery use cases supported

## C.1	General

The present document considers two distinct coordinated energy recovery scenarios. These are described in this annex for clarity and completeness.

There is clearly a mutual interest in coordination between telecommunications and energy service operations to achieve rapid recovery of energy service. This is not only true for the MNO, who benefits from the availability of supplied power, but also of the DSO who needs mobile telecommunication service to restore and maintain the operation of its grid.

Energy service interruptions may occur in many parts of the energy system, ultimately effecting the end customer. Coordinated energy recovery scenarios does not consider every service interruption scenario. It rather concentrates on one specific level of the system. Please see Figure 4.1-1, which includes the 'distribution' component of the system. It is at the distribution level of the system that coordinated recovery is enabled by specification in the present document. The remainder of the task of efficient recovery is out of scope.

## C.2	Scenario #1: Energy service recovery with redundant energy distribution topology

This use case concentrates on the distribution aspects, which is depicted above as a single level in a hierarchy, but in fact may have a series of sub-stations between high voltage transmission and the final distribution to energy consumers.

Interruptions occur in the distribution system, as at some level, the medium voltage network may require local reconfigurations or suffer unplanned loss of distribution service (e.g. due to distribution cable damage, etc.) The resulting energy service interruptions last a variable amount of time (from minutes to hours.)

The normal situation is that a utility may need to disconnect a certain Medium Voltage feeder, or more often, it gets disconnected for accidental reasons. As the grid does not automatically re-connect this feeder to an active one, there will be a power outage in all points of supply connected to it while the power is being restored. The procedures and times to reconnect the affected feeder would be the same if for any reason this has been caused by a planned operation, an unexpected incident, or if it is a major grid problem.

In the recovery procedures, the DSO network operations centre needs to restore power in a certain order commonly for operational reasons, and for regulatory compliance: the order includes prioritizing the more important energy consumers (e.g., Hospitals, government sites).

This prioritization may also include major MNOs' sites, such as base stations and core network sites to restore communication services, which is in the interest of both MNO and DSO stakeholders. This prioritized recovery of MNO sites is enabled by this use case.

It is here where a standardized mechanism connecting DSOs and MNOs is beneficial. This use case describes the information and operations that occur on that interface.

The DSO is aware of each point of supply (to an energy consumer), by means of the Energy Supply ID. The MNO needs to let the DSO know the relevant Energy Supply IDs, so that the utility can know where they connect to its feeders. Another critical information element is the power back up installed by the MNO in each site (including 'back up' base stations), and its current expected duration. In addition, for each Energy Supply ID, base station, e.g. eNB, IDs (serving the cell IDs) served by the base station as shown in figure 6.2.1-2 below.

Figure C.2-1: Local recovery scenario

NOTE 1: 	The representation of the ID above corresponds to the Energy Supply termination of the base station site. In the figure the energy supply is represented as providing energy to a base station. The applicability of the scenario is broader, however, as it concerns any site (including data centres or other facilities.)

The correspondence between the communication system serving the distribution substation by means of a UE (camped in the depicted cell), the Energy Supply ID of the base station and the ID of the base station enables the DSO to identify important operational aspects, such as:

(a) the impact of the distribution substation interrupting service: specifically the base station that the distribution substation relies on will have its power supply interrupted;

(b) upon recovery of the distribution substation, which substations may be high priority for resumption of service.

As implied in Figure C.2-1, there is a dependency that the DSO has on the MNO in that the DSO relies upon data connectivity to smart energy equipment in the distribution system. Through the use of smart energy services, restoration of energy service is rapid and reliable. If the energy substation lacks data connectivity, it is sometimes necessary to send a technician to the site to restore service, which is time consuming.

Within the distribution substation is a router, a kind of customer premises equipment (CPE) that communicates as a router that supports a mobile interface, shown as the UE. Beyond the CPEs DSO Remote Terminal Units (RTUs) are connected. The DSO monitors and controls the RTUs as part of normal operations, especially in the event of a service outage.

Other information exposed by the new mechanism is dynamic.

The figure below depicts the situation at the time of a failure and what is needed in order to restore energy service.

Figure C.2-2: Local failure event

NOTE 2: 	In Figures.C.2-1 and C.2-2, the green cubes labelled 'ES' represent energy supply points, associated with an Energy Supply ID.

The red lines above are medium voltage lines between energy distribution substations (DS). Note that initially Primary Substation (PS) 1 feeds DS7, DS6 and DS5, and PS2 feeds DS1, DS2, DS3 and DS4.

Between DS2 and DS3 there is a distribution failure. This has the result of causing DS3 and DS4 to no longer be able to maintain the energy distribution service to customers.

Note that the topology of energy distribution lines is redundant. In order to achieve distribution successfully through this redundant topology, energy service has to be switched on and off at corresponding distribution substations. This for example could be done between DS4 and DS5 to feed restore service to all substations. The switching is disruptive of energy service. For some time, energy supplied by the distribution substation to the energy customers is off-line. This would result in the following topology:

Figure C.2-3: Local failure restored

The topology in Figure C.2-2 is altered so that DS4 and DS5 are now connected, accepting the medium voltage line between DS2 and DS3 are disconnected. PS1 and PS2 remain disconnected; they represent another level of redundancy in the system.

If the process of switching on and off until a stable configuration is achieved has to be done manually the process can take considerable time (e.g. hours) as technicians has to be on-site to control the substation configuration. Although the RTU connectivity is instrumental, the technicians have to communicate among themselves and with the utility Control Centre as well, e.g. using mobile telecommunications. However, if the process takes a long time - the mobile telecommunication infrastructure, as shown by base station A and base station B, will likely have exhausted their Uninterruptable Power Supply (UPS), further complicating recovery procedures.

The alternative investigated in this use case involves taking into account the configuration (as described in Figure C.2-1) and dynamic information obtained from the 3GPP network management system concerning the current capacity (expected remaining duration of service) of the UPS in each of the MNO's infrastructure sites.

NOTE 3:	Please see Annex X concerning exposing information and capabilities of sites that are not operated by the mobile network operator. In this annex, it is assumed that the MNO exposes all such information and capabilities on behalf of all sites in their network, even those that are operated by third parties.

Using smart energy services (principally Distribution Automation), it is possible to perform the 'switch on and off' procedures rapidly, within minutes, and reconfigure the network. There will still be transient electrical service outages to the customers that the distribution substations serves.

Taking into account (a) which mobile network infrastructure sites (i.e. base stations) are critical to service and which cells they serve, (b) the corresponding Energy Supply ID, (c) the distribution substation (UEs) that rely on these base stations, (d) the remaining UPS capacity available in the sites, it is possible for the DSO to plan the 'switch on / switch off process' to avoid any interruption of service. This is done by selective ordering of the switch on / switch off activity, to avoid exhausting any mobile network infrastructure UPS - especially where this base station (etc.) serves to enable communication services to a distribution substation.

Note that in figure C.2-2, the cell in which each is located is served by a base station that can be affected by 'switching off.' It is also known to the DSO that e.g. DS2 is served by A and (secondarily) by base station B. Knowledge of this redundancy can also be of benefit to the planning of the DSO, to prevent in the worst case that both base stations UPS capacity is exhausted and there is no way to restore energy service to these sites.

In order to support the process described above, another example of dynamic real-time information is the 'real' current back up power available at the base station, at any moment in time; the intention is to see how much time the DSO has to restore the power before service interruption compromises the MNO's operation.

Use case actors

DSO network operations centre 'management system'

The DSO network operations centre management system (DSO-MS) maintains operational information to inform DSO network operations.

MNO network operations centre 'management system'

The MNO network operations centre management system (MNO-MS) has and can expose operational information to DSOs concerning the network's configuration and status.

The MNO-MS is a 3GPP management system and the DSO-MS is not a 3GPP management system, however it supports mechanisms that are defined by 3GPP standards (e.g. it uses 'northbound interfaces' exposed by the 5G network management system.)

Use case service flow

Preconditions:

There is a feeder, whose operation requires smart energy services. The smart energy services are available through DSO equipment RTUs. These RTUs are connected with a router, a CPE in the DSO site, that supports a mobile telecommunications interface, a UE.

The DSO can obtain information from each UE in the DSO network. The DSO-MS is aware of the Base station ID of the serving base station for each UE.

On a regular basis, e.g. daily, the DSO-MS obtains 'static information' from the MNO-MS. The DSO-MS is aware which base stations each of the DSO's UE camp on. The DSO-MS is also aware of which base stations rely on which Distribution Substation.

Service Flow: MNO-DSO coordination to achieve rapid energy service outage recovery

Figure C.2-4: Timeline for Restoration of a Distribution Substation

1.	The DSO-MS uses the standardized mechanism to identify an energy service outage at a particular Distribution Substation (or set of Distribution Substations).

This is shown in Figure C.2-4 as the time of the outage incident.

2.	The DSO-MS uses the standardized mechanism to request information from the MNO-MS, to identify the UPS capacity of the base stations in the vicinity of the outage, where the distribution substations will need to be switched on and off. This is shown in Figure C.2-4 as a, b, c, d which correspond to base stations A, B, C and D. 

This request may be done repeatedly, over time, so that the DSO-MS can track the status of the MNO-MS. The MNO-MS should inform the DSO-MS of the current UPS status for a site corresponding to specific Energy Supply ID.

NOTE 4: It is especially important for the MNO-MS to inform the DSO-MS of the UPS status of sites that are Base Stations.

3.	The DSO-MS can use the standardized mechanism to inform the MNO-MS of which sites (using the Energy Supply ID known by both the MNO and the DSO) will experience an outage. The DSO can inform the MNO in advance of a planned outage, e.g. when switching on and off will take place.

4.	The DSO will actively switch on and off the medium voltage topology at the different distribution stations seeking to establish a stable and sufficient topology. The DSO will prioritize switching involving DS1 so that the UPS of base station A is not exhausted, because 'a' will expire first as shown in Figure C.2-4.

5.	A stable and sufficient medium voltage distribution topology is established without exhausting any of the UPS capacity of the base stations and other critical mobile infrastructure sites.

Post-conditions:

The DSO-MS has informed the MNO-MS before, during and after an energy service outage.

The DSO-MS has been able to obtain dynamic UPS information corresponding to mobile infrastructure sites throughout the recovery process.

Service Result:

Energy service is restored to the MNO sites and to the rest of the DSO's energy service customers efficiently, without requiring manual intervention.

## C.3	Scenario #2: Energy service recovery without redundant energy distribution topology

This use case is a variation on clause C.2 above.

In C.3, a redundant topology offers the opportunity to adjust the switching of medium voltage lines for energy distribution. When there is a failure of one of these lines, it is possible to adjust the topology to re-establish energy supply to all distribution substations.

This possibility exists only if there is a redundant topology. There are scenarios in which there is no redundant topology, either because a substation is remotely located or because the redundant topology is sufficiently damaged that a sufficient network cannot be re-established. This use case addresses these scenarios.

Figure C.3-1: Local Failure Event of feeder of Distribution Substations without Redundant Topology

In figure C.3-1, there is a failure in the distribution line between Distribution Substation 2 and Distribution substation 3. This will result in a failure to supply energy to ES2, and thereby base station B.

In this use case, it is necessary to re-establish the energy supply between substation 2 and substation 3 prior to resuming service in substation 3 and 4.

Once this has been re-established the topology is restored as shown in Figure C.3-2.

Figure C.3-2: Restored Energy feeder to Distribution Substations

At the point when the distribution is again possible, it is necessary to resume service at distribution substation 3 and 4. However, as some time has elapsed, the UPS capacity of B will be exhausted. This will mean that any smart energy automated operations to distribution substation 3 and 4 will be impossible. Manual intervention to restart service will require substantially more time than automated response.

For this reason, this use case suggests a new operational capability to achieve rapid coordinated recovery. In this approach the DSO informs the MNO to reserve UPS capacity in certain sites, so that it will be possible to resume telecom operations subsequent to the resumption of energy distribution service. If energy distribution service does not resume, after the UPS capacity becomes exhausted, telecom operations will become impossible.

Use case actors

DSO network operations centre 'management system'

The DSO network operations centre management system (DSO-MS) maintains operational information used for DSO network operations. The DSO-MS supports interfaces defined in this use case. All other aspects of the DSO-MS are out of scope of 3GPP specification. The DSO-MS is a consumer of the 3GPP management system.

MNO operations centre 'management system'

The MNO operations centre management system (MNO-MS) has and can expose operational information to DSOs concerning the network's configuration and status. The -MS as discussed in this use case can be considered a producer of management interfaces consumed by the DSO-MS. The MNO-MS is effectively a standardized subset of interfaces and semantics of the 3GPP management system. The MNO-MS is a 3GPP management system for 5G and the DSO-MS is not a 3GPP management system, however it supports mechanisms that are defined by 3GPP standards (e.g. it uses 'northbound interfaces' exposed by the 5G network management system.)

Sites that are not managed by the MNO, e.g. for shared network operations, can be included in the exposed information and capabilities by means that are out of scope of 3GPP standardization.

Use case service flow

Preconditions:

The purpose of the following description is to explain the scenario in which the energy utility operates a network by means of diverse accesses. It is important to mention that other access systems are used to access the energy utility site networks as well, but only access via the mobile telecommunication system is in of scope of this use case.

An energy utility maintains many energy distribution substations. Each is an energy utility infrastructure site that is responsible for distribution of energy to customer sites. This energy utility infrastructure site's operation requires smart energy services. The smart energy services are used to manage and control DSO equipment. This equipment is present on a local area network in the energy utility infrastructure site, which is accessed (e.g. as a VLAN) over any access. In this use case, the access that is used is 3GPP access. A UE is used effectively to carry DSO energy utility infrastructure site communication opaquely (that is, as encrypted traffic) to the Utility Service Provider Network.

The DSO can obtain information from each UE that is used to provide access to the DSO networks. The DSO is, by means of this information obtained from UEs in the DSO network, aware of the Base station ID of the serving base station for each UE.

NOTE 1:	The MNO exposed information regarding the base station ID and its associated Energy Supply ID and UPS status enables the DSO to determine which of the UEs deployed in their network will eventually be affected if the supply is out of service.

On a regular basis, e.g. daily, the DSO-MS reads information from the MNO-MS exposed 3GPP management system MnS Producer's exposed interfaces. The DSO-MS is aware which base stations each of the DSO's UE camp on. The DSO-MS is also aware of which base stations rely on which Distribution Substation.

Service Flow:

Figure C.3-3: Timeline for Restoration of a Distribution Substation

1.	At some time (T0) there is an outage incident either a planned or unplanned incident.

2.	The DSO-MS uses the standardized mechanism to request information from the MNO-MS, to identify the UPS capacity, including remaining time of operation, of the base stations in the vicinity of the outage, where the distribution substations will need to be switched on and off.

This request may be done repeatedly, over time, so that the DSO-MS can track the status of the MNO-MS. The MNO-MS should inform the DSO-MS of the current UPS status for a specific Energy Supply ID.

NOTE 2:	It is especially important for the MNO-MS to inform the DSO-MS of the UPS status of sites that are Base Stations.

3.	At some subsequent time (T1), the energy utility begins restoration of energy feeder lines or other affected infrastructure.

4.	The period of time that will elapse before the restoration of energy service from some set of distribution substations will be longer than the UPS capacity of the mobile infrastructure sites. This use case assumes that the MNO knows or can estimate the remaining time of operation after T0 given the UPS capacity of different mobile infrastructure sites, as received in step 2, shown as a, b, c, d in Figure Y.3-3. That is, T2 occurs after the UPS capacity is exhausted in the sites affected by the energy outage. This use case assumes that the DSO knows or can estimate time at which energy distribution service can resume, shown as T2 in figure 6.3.2-1. This may not be the exact time at which resumption of energy service can resume, which is shown as T3. T2 is an estimate when the energy feeder will have recovered, while T3 represents the time at which energy feeder service resumes and restoration of distribution is possible.

5.	The energy feeder for one or more energy distribution substations is now complete. At this point, it will be possible to restore energy distribution. However, operations are required at the distribution substation. This can be performed by smart energy services remotely if there is network coverage. The starting time, when the MNO provides service with remaining UPS capacity, is shown in Figure C.3-3 as T3. The smart energy services to restore energy distribution services to all customers, including the MNO, is shown as T4.

There are two alternatives for how the restoration can occur. Manually, as described in 6a, or with remote intervention, as described in 6b.

6a.	Without prior arrangement, there will be no UPS capacity remaining in the infrastructure that serves the distribution substations that have restored power. In this case, manual intervention is required to restore energy distribution. This will be complete after a substantial period of time (T5).

6b.	Alternatively, prior arrangement can be made so UPS capacity will remain in the infrastructure at the time it is needed to restore energy distribution service. This prior arrangement is described in the steps below, and consists of operations between the DSO-MS and MNO-MS.

This Rapid Recovery process enables the situation that, at time (T3), the MNO is able to use remaining UPS capacity to offer telecommunication service at the time at which the DSO will perform remote operations by means of data communications to restore service in the sites affected by the outage, and operates them until the outage concludes.

6.b.1.	In this use case, the DSO-MS communicates to the MNO-MS:

-	the affected sites (identified by the associated Energy Supply IDs) by the outage

-	the time X after which recovery is possible

-	the time Y (that is a certain interval of time after X) that the recovery is expected to complete (a small number of minutes)

The MNO (or the site operator of a site essential to the MNO that is operated by a third party, see annex B), knowing this, has the opportunity to manage the use of the UPS in the affected sites so that they do not exhaust at time (a, b, c, d, etc.). Rather, capacity sufficient for operation of the base station between time X and Y is reserved. Figure C.3-4 below shows a concrete example of this interaction.

Figure C.3-4: Example of Restoration Scenario of a Distribution Substation

Table C.3-1: Example Sequence of Restoration of a Distribution Substation

| Time | Event |
| --- | --- |
| 00:34 | A storm rages and causes power lines to collapse in the mountain province. Energy distribution service by Distribution Substation 3 is no longer possible! |
| 00:36 | The DSO informs the MNO that there has been an energy distribution incident that will affect site S. The DSO expects to repair the medium voltage line by 02:45, and if telecommunications service permits it, remote control (using Distribution Automation and SCADA controls) of all sites served by Distribution Substation 3 can be restored - by 02:50. In terms of the procedure step 5a, X=0:2:45, Y = 5 minutes. |
| 00:40 | The MNO conserves energy as appropriate to conserve 5 minutes of operating capacity of their UPS reserve. |
| 02:38 | The DSO informs the MNO that the feeder line is restored. Remote control restoration of service can begin now. This is T2 in Figure 6.3.2-1. |
| 02:43 | The MNO resumes operation at site S. The DSO is informed that the service has resumed. |
| 02:47 | The DSO completes distribution automation. Site S now has energy service. This is T4 in Figure 6.3.2-1. |

6.b.2.	The DSO, after time (T3), employs smart energy services such as distribution automation or specific SCADA operations to restore service to customers rapidly.

6.b.3.	The incident concludes (T4). Energy distribution service has been restored to the MNO site(s) as well as other energy service customers.

6.b.4	The DSO-MS notifies the MNO-MS that the restore operation is complete.

Service flow result

T4 occurs before manual uncoordinated recovery of service would be successful (T5 in Figure C.3-3) Thus, alternative 6.b is superior to 6.a for both the MNO and the DSO.

Service is restored to distribution substation 3 and 4 at T4, within minutes of the restoration of the medium voltage line between distribution substation 2 and 3 T3. This is substantially faster than service could be restored if a technician had to visit distribution substation 2 and 3 - represented on Figure C.3-3 as T5. As a result, service is restored to the MNO sites affected more rapidly than in an uncoordinated incident.

Annex <X> (informative):
Change history

| Change history |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Meeting | TDoc | CR | Rev | Cat | Subject/Comment | New version |
| 8.23 | SA5 #150 | S5-235951 |  |  |  | Skeleton | 0.0.0 |
| 8.23 | SA5 #150 | S5-225952 S5-235953 S5-235954 S5-235955 S5-235956 S5-236001 S5-236002 |  |  |  | Scope Introduction Terms and Acronyms Overview General Annex - Procedures Definition | 0.1.0 |
| 10.23 | SA5 #151 | S5-237061 S5-237063 S5-237064 S5-237065 S5-237066 S5-237067 S5-237069 S5-237070 S5-237071 S5-237072 S5-237073 |  |  |  | 3 Definitions and Acronyms 5.Y Exposed performance monitoring requirements Availability KPI definition Annex A Procedures Annex A Procedures 5.X Exposed coordinated recovery requirements Annex X Coordinated energy service recovery business relationship model Annex Y Coordinated energy recovery use cases 6.X Coordinated energy recovery procedures Address editor's notes Clarifications | 0.2.0 |
| 11.23 | SA5 #152 | S5-237800 S5-237953 S5-238218 S5-238221 S5-238222 |  |  |  | table of contents PMs and KPI definition for NSOEU Diverse clean ups and alignment Cell Availability performance measurement definition Corrections to Exposed coordinated recovery | 0.3.0 |