## Slide 1: DES/EE-EEPS005 on Network Energy Efficiency
TC-EE, 3GPP SA5 and RAN2 Telco, March 13th 2013
ETSI TC-EE
Notes: 1

## Slide 2: TC “Environmental Engineering”
Responsibility (1/2)
  Specifications for environmental and infrastructural aspects for telecommunication equipment and its environment (WG-EE1):
    Environmental conditions/requirements/tests including: climatic, mechanical, chemical, biological aspects
    thermal management
    acoustic noise measurement and limits
  Specifications of Power Supply interface requirements and grounding for telecommunication/data-com equipment (WG-EE2)
    Power supply interface requirements (voltage range, voltage variations, inrush current, etc.)
    Power distribution architectures
    Monitoring and control interface of power and cooling systems
    Grounding & Bonding requirements

## Slide 3: TC “Environmental Engineering”
Responsibility (2/2)
  Specifications for Mechanical Structure and Physical design of telecommunication equipment
    Equipment practice for telecommunication equipment
    Characteristics of sub-racks, racks and cabinets for telecom equipment
  Eco-Environmental affairs (WG-EEPS)
    Analysis of European environmental legislations, in terms of ecological aspects, and assessing its impact on Telecommunication infrastructure and equipment.
    Establishment and maintenance of liaisons with SDOs and the European Commission on development of ecological environmental related product deliverables in telecommunication area
    Reduction of energy consumption for telecommunications/datacom equipment and related infrastructure
    Renewable energy sources (for powering telecommunication and datacom equipment)

## Slide 4: Energy Efficiency deliverables for some TLC products in mobile networks
Wireless Broadband Access equipment
TS 102 706 V1.2.1, published 10/2011
It defines measurement and calculation methods of energy efficiency of radio base stations
It takes into account traffic conditions
TR 103 116 V1.1.1, published 10/2012
It a practical application of the TS 102 706
The TS 102 706 is under revision to clarify the improvements identified with the TR 103 116 (RTS/EE-EEPS00022)
Core Network equipment
ES 201 554 V1.1.1, published 04/2012
It defines measurement methods for:
  IP Multimedia Subsystem (IMS) core functions (HSS, CSCF, etc)
  Fixed core functions (softswitch)
  Mobile core functions (HLR, MSC, GGSN, SGSN, EPC, etc)
  Radio access control nodes (RNC, BSC)
Core network equipment are defined in TS 123 002

## Slide 5: Energy Efficiency deliverables for radio access networks
TR 103 117 “Principles for Mobile Network level energy efficiency” V1.1.1, published 11/2012
DES/EE-EEPS005, ongoing New Work Item on “Assessment of mobile network energy efficiency”
The TR 103 117 is TR an overview of energy efficiency for mobile access networks taking into account its complexity:
  complexities of network measurement in live network
  complexities of network measurement in lab
Models and simulations for network level energy efficiency is also studied
The covered technology is GSM, UMTS, LTE
A report of some European projects on the related matters is given, including EARTH and OperaNET projects
Radio Access Networks

## Slide 6: Energy Efficiency deliverables for radio access networks
Single Node lab Measures
Network lab Measures
PARTIAL Networks
Extension to
Extrapolation
GLOBAL
Networks
ETSI TS
102 706
Lower Priority
TR 103 117
(EE measurement of partial RAN)

## Slide 7: Energy Efficiency deliverables for radio access networks
Present activities
  Focus refinement on the Energy Efficiency (EE) partial networks in radio access for 2G, 3G and LTE
  Focus on the measurements of EE in such partial networks
  Definition of measurements metrics based on throughput and/or number of users with the Quality of Service/Quality of Experience
  Analysis of pros/cons of methods based on nodes counters or on test users
Extend the analysis from partial networks to global networks
TR 103 117 is the basis to compare different network energy efficiencies or to compare networks with different (innovative) features
Radio Access Networks

## Slide 8: ETSI TR 103 117
Targetted use cases
    Generic cluster assessment
    Live network assessment
    Global network modeling
Definition
  MNEE = MNPD / MNEC
    MNEC = mobile network energy consumption
    MNPD = mobile network performance delivered
  Scope
    Radio Access Network elements covering a given area
    Technology: GSM, UMTS, LTE
    Equipment that could be considered includes radio base stations, backhauling systems, radio controllers, other infrastructure radio site equipment)

## Slide 9: Mobile Networks Energy Efficiency (MNEE) Metrics selection
Proposed selection criteria (checked with 3GPP TS 32.450)
  Representativity
    Relevance of the metrics to the targetted use cases and completeness of the performance criteria
  Accuracy
    Based on the uncertainty analysis of the assessment process
  Robustness
    Reproducibility of results in different configurations
  Implementation
    Practicality and simplicity of implementation for the targetted use cases
  Consistency
    Consistency with the existing international standards framework (3GPP, ITU, etc)

## Slide 10: Review of DES /EE-EEPS005 WI description
DES/EE-EEPS005
  Environmental Engineering (EE) Assessment of mobile network energy efficiency
Scope and Field of Application
  Define the topology and level of analysis to assess the energy efficiency of mobile networks; radio access part of the mobile networks (radio base stations, backhauling systems, radio controllers and other infrastructure radio site equipment).
  The covered technology are GSM, UMTS, LTE (and LTE-A). In particular the document defines metrics for network Energy Efficiency and methods for assessing (and measuring) Energy Efficiency in operational networks.
  The purpose of the specification is to allow comparisons of the networks’ energy efficiency; it deals with both homogeneous and heterogeneous “network” whose size and scale could be defined by topologic, geographic or demographic boundaries.
  Terminal (end-user) equipment is outside the scope of this document and is not considered in the energy efficiency measurement.
Joint Activity
  The activity under this WI is part of a cooperation agreement with ITU-T SG5 to develop a common standard

## Slide 11: WI Roadmap
STATUS | Milestone | Action | Action Nb | Target | Achieved | Version
0 | Creation of WI by WG/TB |  |  | 2012-09-28 | 2012-09-28 | 
0 a | TB adoption of WI |  |  | 2012-09-28 | 2012-09-28 | 
2 | Early draft |  |  | 2013-06-30 |  | 
4 | Stable draft |  |  | 2014-09-30 |  | 
6 | Final draft for approval |  |  | 2014-12-19 |  | 
7 | WG approval |  |  | 2015-01-23 |  | 
8 | TB approval |  |  | 2015-02-06 |  | 
8 A | Draft receipt by ETSI Secretariat |  |  | 2015-02-20 |  | 
10 FM | Start of Membership Vote | MV |  | 2015-03-06 |  | 
10 GM | End of Membership Vote |  |  | 2015-05-05 |  | 
11 | Vote result determination (adopted) |  |  | 2015-05-05 |  | 
12 | Publication | PU |  | 2015-05-19 |  | 1.1.1
Details of 'DES/E-EEPS005' Work Item Schedule

## Slide 12: Comments regarding 3GPP liaison works
3GPP TSs indicated in the liaison analyzed by DES/EE-EEPS005 DES005 ad-hoc group
TS32.425 and TS36.314 considered of particular interest
The following joint way of working, suggested by SA5, agreed:
  Step 1: ETSI EE defines use cases, requirements and global KPIs to measure energy efficiency.
  Step 2: 3GPP TSG RAN WG 2 crosschecks which of the current L2 measurements/KPIs can be used to fulfil the requirements or which new definitions are needed. 3GPP TS 36.314 may be extended, if missing L2 measurements are the only way to fulfil the requirements.
  Step 3: Based on steps 1 and 2 SA5 provides the necessary additions to 3GPP TS 32.425.

## Slide 13: ETSI DES/EE-EEPS005 focus
The overall purpose of the ETSI DES/EE-EEPS005 WI is to measure network consumption and network efficiency as ratio between network performance and energy consumption
Network consumption estimation and evaluation seems not part of 3GPP’s work but it focuses on network performance
  KPI Proposal: Network efficiency = Delivered bits during a given period (i.e. 24 h) / network energy consumption; delivered bits=useful data for the end user excl. signaling
  Plus reporting of additional network parameters (not integrated in above KPI):
    Percentage of users which reached a minimum QoS
    Latency
  Verify actual QoS based on network performance measures defined by 3GPP

## Slide 14: Comments regarding selected 3GPP works
TS32.425 Performance measurements – most relevant 3GPP standard
    4.4 throughput and active users – most important section
    4.5 transmitted power – should avoid RF power calculations and statistics. No measure for actual network performance and critical subject regarding radiation fear.
    4.10 CQI distribution – important for network management only
TS36.314 Layer 2 – Measurements. Used for network management
    4.1.3.1 Number of active users. Is intended to be part of a calculation to determine the bitrate of active UEs in DL.
    4.1.6.1 Scheduled IP throughput in DL independent of traffic patterns and packet size
    4.1.7.1 Measures IP throughput over Uu in DL (as 4.1.6.1). This measurement is mainly intended for measuring the throughput for MDT when the radio interface is the bottleneck. A very likely measure for ETSI purpose
    4.1.8.1 Data Volume for MDT in DL. Amount of PDCP SDU bits in downlink delivered from PDCP layer to RLC layer in a measurement period. The measurement is performed per QCI per UE.

## Slide 15: Select available 3GPP parameters from TS 32.425
QoS
    IP Throughput measurements: Measure the throughput on the Uu interface, averaged on cell level
    Other option:
      Average DL/UL cell PDCP SDU bit-rate (This is a user plane throughput measurement measuring the throughput on the S1 interface)
      Problem with average throughput: only average, “unsatisfied user” not identified.
          MDT can be used to collect UE based throughput measurement, but requires user consent!
Latency
    Delay measurement. TS32.425 section 4.4.3 for DL PDCP SDU delay and SDU drop rate

## Slide 16: Questions for the liaison with 3GPP
Is the outlined approach acceptable and agreeable?
Namely, focus on network performance and in particular on IP throughput measurements?
Is the MDT an option? What is the foreseeable outcome of the works on MDT and what about the foreseen roadmap for MDT in relationship with next Releases? Is MDT user consented?
As for the TS36.314 the measurements are vendor specific? And the measurements reports are vendor specific?
ETSI EE deals with Energy consumption and Energy efficiency metrics and methods of measurement, NOT about Energy management .
Network management solutions to reduce the energy consumption and increase energy efficiency are dealt within 3GPP