3GPP RAN WG4 Meeting #76bis 	R4- 156503

# Sophia Antipolis, France, 12 – 16 Oct, 2015

Source: 	Rohde&Schwarz, Keysight Technologies

Title: 	Validation of Antenna Patterns obtained from ATF

Agenda Item:	7.3.1 - General [LTE_MIMO_OTA-Core]

Document for:	Discussion

### Summary

This contribution outlines the accuracy of the antenna patterns obtained from the Antenna Test Function (ATF) that is used for Stage 1 of the Radiated Two-Stage (RTS) methodology and compares the recorded patterns with passive measurements using a vector network analyser (VNA). This analysis was done using the CTIA Reference antennas for which pattern data has been made available publicly.

Pattern comparison of CTIA Reference Antennas recorded with ATF

Figure 1 outlines the coordinate system used for the measurements as well as the designation of the two antennas integrated on the PCB and this document is focusing on measurements of the “Nominal” CTIA Reference Antenna for Band 13 in the xy plane.

Figure 1: Coordinate system and antenna designation for the CTIA Reference Antenna

R&S performed a correlation exercise in a CATL sometime ago to compare the antenna patterns recorded with the ATF on a UE integrated inside the shield box of the “Nominal” CTIA Reference Antenna (SN 008) with the antenna patterns on the same antenna measured with a VNA. The complex 3D pattern obtained from both approaches (each using a 15o spacing in theta and in phi) was furthermore used to compare the envelope correlation coefficient (ECC) of that antenna pair.

The 2D pattern (xy plane) comparison is shown in Figure 2. The agreement between the passive directivity pattern measurements and the pattern recorded with the ATF are generally very good; the biggest differences can be observed in the side lobes for the theta component and the nulls of the pattern. Also, good agreement with the previously published antenna patterns can be observed.

Figure 2: Directivity pattern comparison between published pattern data with the directivity pattern measured with a VNA and the directivity pattern measured with the ATF on a UE integrated inside the shield box of the “Nominal” CTIA reference antenna for Band 13 (SN 008)

The 3D comparison of the complex patterns obtained with the ATF and with the VNA was done by calculating the ECC of the antenna pair. The ECC using the ATF pattern was 0.33 and using the passive measurements with the VNA the ECC was 0.34, i.e., excellent pattern agreement was achieved even in 3D. These ECC values are well within the published ECC value range of the “Nominal” CTIA Reference antennas (SN 001 through 004) of 0.32 and 0.41.

It can therefore concluded that the antenna pattern obtained using the ATF is very closely matching the antenna pattern the UE receives.

References

[1] 3GPP TS 37.977, V12.1.0 (2014-03); Verification of radiated multi-antenna reception performance of User Equipment (UE). Release 12 (3GPP)

[2] MOSG110504R1, Reference Antenna Proposal for MIMO OTA, May 2011  (Motorola Mobility). This is a CTIA Sub-Working Group Document available to CTIA Sub-Working Group members

[3] 3GPP R4-153766, Motorola Mobility et al., “A hybrid approach determining the measurement uncertainty bounds for the harmonization measurement campaign”