## Slide 1: Smart Grid Study Considerations
Agenda Item: 4 Source: Erik Guttman, Samsung Document for: Discussion
The intent of these slides is to support study of Smart Grids in SA1 in Rel-18 on topics of relevance to energy service providers and consumers.
S1-202123

## Slide 2: Justification to study Smart Grid Communication
The Smart Grid (a set of services used in the energy service system) has developed for over 10 years. Some aspects are mature & well understood. These services can be studied in terms of whether they can be supported by the 5G System or if there are gaps.
Challenges arise due to decentralization of generation, storage and demand response. This requires increased communication to integrate into the existing energy system.
Many communication technologies are used today, making utility communication complex and hard to secure. With 5G, the Utility vertical can do better.
S1-202123

## Slide 3: Areas to Study
Different deployment scenarios with very different conditions
  Generation stations and Distribution substations – tend to be indoor and have very high levels of electromagnetic radiation, complicating wireless communication.
  Transmission covers very large distances of undeveloped territory.
  Customer premises are indoor and often the electrical termination has limited or no coverage.
There are different Smart Grid services, with different communication requirements (KPIs). Some specific to one scenario, others spread between them.
S1-202123

## Slide 4: Expected KPIs to study – promising areas to investigate
Smart Grid services, e.g. IEC standards, generally do not assume a particular transport. Requirements are e.g. Bandwidth, Latency, Availability, Security.
Deployment criteria (whether to invest in one particular technology or another) include Service Lifetime (is it feasible to deploy a terminal for 40 years?), Coverage (ubiquity), Electromagnetic Applicability (e.g. Penetration, ability to operate in high EM environments)
Some additional criteria arise due to operational manageability – e.g. the ability to configure and monitor the real (achieved & up to date) availability of virtual network topologies.
S1-202123