3GPP TSG-SA WG1 Meeting #93e	S1-210070r4

Online, Feb. 22  –  Mar. 4 2021

Title:	Clarify the KPI table in section 5.2

Agenda Item:	7.9.1

Source:	CEPRI, ZTE, China Telecom

Contact:	xu.ling@zte.com.cn

duanxiaomeng@epri.sgcc.com.cn

yangdelong@epri.sgcc.com.cn;

Abstract: This contribution proposes to clarify related values in KPI table and to remove editor note.

Proposed Changes:

************************************* The first change begin *************************************

2	References

The following documents contain provisions which, through reference in this text, constitute provisions of the present document.

-	References are either specific (identified by date of publication, edition number, version number, etc.) or non-specific.

-	For a specific reference, subsequent revisions do not apply.

-	For a non-specific reference, the latest version applies. In the case of a reference to a 3GPP document (including a GSM document), a non-specific reference implicitly refers to the latest version of that document in the same Release as the present document.

[1]	                       3GPP TR 21.905: "Vocabulary for 3GPP Specifications".

[2]	SunWeiqing etc.  Generalized Energy Storage Control Strategies on User Side in Power Ancillary Service Market.  Automation of Electric Power System Vol.44 No.2 Jan.25, 2020

[3]	IEEE C37.2-2008 IEEE Standard Electrical Power System Device Function Numbers, Acronyms, and Contact Designations.

[4]	IEC TR 61850-90-1:2010, Communication Networks and Systems for Power Utility automation – Part 90-1: Use of IEC61850 for the communication between substations.

[5]	IEEE 1588-2019 – IEEE Standard for a precision clock synchronization protocol for networked measurement and control systems.

[6]	IEEE Guide for Application of Digital Line Current Differential Relays Using Digital Communication.

[7]	61850-9-3-2016 – IEC/IEEE International Standard - Communication Networks and Systems for Power Utility automation – Part 90-3: Precision time protocol profile for power utility

[8]                     3GPP TR 22.804: "Study on Communication for Automation in Vertical domains (CAV)".

[9]	Sendin, A., et. al., “Telecommunication Networks for the Smart Grid,” Artech House, 2016.

[10]	Goel, S., S. F. Bush, and D. Bakken, (eds.), IEEE Vision for Smart Grid Communications: 2030 and Beyond, New York: IEEE, 2013.

[11]	US Department of Energy, “Communications Requirements of Smart Grid Technologies, 2010”, accessed 14.08.20, http://energy.gov/sites/prod/files/gcprod/documents/Smart_Grid_Communications_Requirements_Report_10-05-2010.pdf

[12]	IT Process Wiki – The ITIL Wiki:. Content is available according to Creative Commons Attribution-NonCommercial-ShareAlike 3.0 Germany License. Access 14.10.20.

[13]	Incident Management: https://wiki.en.it-processmaps.com/index.php/Incident_Management Content is available according to Creative Commons Attribution-NonCommercial-ShareAlike 3.0 Germany License. Access 14.10.20.

[14]	Change Management: https://wiki.en.it-processmaps.com/index.php/Change_Management Content is available according to Creative Commons Attribution-NonCommercial-ShareAlike 3.0 Germany License. Access 14.10.20.

[15]	Service Asset and Configuration Management: https://wiki.en.it-processmaps.com/index.php/Service_Asset_and_Configuration_Management Content is available according to Creative Commons Attribution-NonCommercial-ShareAlike 3.0 Germany License. Access 14.10.20.

[16]	Open PLC European Research Alliance (OPERA). https://cordis.europa.eu/project/id/026920

[17]	“Applications of ITU-T G.9960, ITU-T G.9961 transceivers for Smart Grid applications: Advanced metering infrastructure, energy management in the home and electric vehicles”, 06/2020. https://www.itu.int/dms_pub/itu-t/opb/tut/T-TUT-HOME-2010-PDF-E.pdf

[18]	M. Amin and A. Giacomoni, "Toward more secure, stronger and smarter electric power grids," IEEE PES’11, 2011.

[19]	Eric D. Knapp, Raj Samani, "Smart Grid Network Architecture", "Applied Cyber Security and the Smart Grid", 2013

[20]	5G DNA White Paper: "5GDN@Smart Grid White Paper: Requirements, Technologies, and Practices" https://www.5gdna.org/

[21]	IEEE Std 1344™-1995 (R2001), IEEE Standard for Synchrophasors for Power Systems

[22]                  	IEEE Std C37.118™-2011, IEEE Standard for Synchrophasors for Power Systems

[23]	IEEE Std 1588-2008, Precision Clock Synchronization Protocol for Networked Measurement and Control Systems

[24]	IEEE Std C37.238-2011, IEEE Standard Profile for Use of IEEE Std 1588™ Precision Time Protocol in Power System Applications.

[25]	IEEE Std C37.224-2013

[26]	IEC 61850-90-5:2012, use of IEC 61850 to transmit Synchrophasors information according to IEEE C37.118

[27]	IEEE Std C37.118.1a-2014: amendment 1 with modification of selected performance requirements.

[28]	IEEE Std C37.118.2-2011

[29] 	61850-90-3-2016 – IEC/IEEE International Standard - Communication Networks and Systems for Power Utility automation – Part 90-3: Precision time protocol profile for power utility

[30]	Budka, K, et. al., “Communication Networks for Smart Grids”, Springer Verlag, 2014.

…

[x]	<doctype> <#>[ ([up to and including]{yyyy[-mm]|V<a[.b[.c]]>}[onwards])]: "<Title>".

************************************* The first change end *************************************

**********************************The second change begin ************************************

5.2.6	Potential New Requirements needed to support the use case

[PR 5.2.6 - 1]The 5G system shall be able to support at least logical isolation communication service for advanced meter applications.

Note: The logical isolation communication service can utilize shared network element or shared network resource. To advanced meter application, it is the minimum requirement.

[PR 5.2.6 - 2]The 5G IoT device shall be able to connect energy equipments via 3GPP/non-3GPP connections to get energy data and to deliver the data to back-end energy applications via 5G connection.

[PR 5.2.6 - 3]The 5G system shall be able to provide required communication service for advanced metering application according to KPI given in table 5.2.6-1

Table 5.2.6-1 Communication KPI for advanced metering

| User experienced Data rate (bps) | Latency (ms) | Reliability % | Connection density | coverage |
| --- | --- | --- | --- | --- |
| UL:<2M DL:<1M | Accuracy fee control: < 100 (note1); General information data collection: <3000 | >99.99 | <10000/km2 (note2) |  |
| NOTE1: the accuracy fee control latency here is for communication one way latency from 5G IoT device to backend system while the distance between them is no more than 40km i.e. city range. The command implementation need 100ms. NOTE2: it is the typical connection density in today city environment. With the evolution from meter centralization collection to sockets in home directly collection, the connection density is expected to increase 5-10 times. |  |  |  |  |

Editor Note:  the values in the KPI table are FFS and need reference.