3GPP TSG-SA WG1 Meeting #93e	S1-210072

Online, Feb. 22  –  Mar. 4 2021

Title:	Update to 5.8 Smart Distribution Transformer Terminal

Agenda Item:	7.9.1

Source:	CEPRI, ZTE, China Telecom

Contact:	xu.ling@zte.com.cn

yangdelong@epri.sgcc.com.cn;

chenjie@epri.sgcc.com.cn

zhoufeiyan@epri.sgcc.com.cn

Abstract: This contribution proposes to update use case description according to energy industry consideration and add new potential requirements.

Proposed Changes:

5.8	 Use case of Smart Distribution Transformer Terminal

5.8.1	Description

The Smart Distribution Transformer Terminal is usually deployed in the distribution transformer area. It could support multiple energy applications simultaneously. Multiple kinds of energy data is collected firstly by the terminal and then delivered to related energy application platform. Some kind of data could be analysed, or even the terminal itself can make decision to perform real-time action. Figure 5.8.1-1 illustrates a work flow example of Smart Distribution Transformer Terminal.

Figure 5.8.1-1 Example of Smart Distribution Transformer Terminal work flow

With the assistance of 5G system, it could report massive energy data separately to multiple energy application platforms according to their requirements. And data from energy application platforms could also be sent to terminal through 5G network, no matter it is business data or management data. Typical interactive data includes fault / alarming events, switch state variation, device abnormal changes, remote control operation, electrical analog data, meter reading data, topology relationship, decision-making information, edge computing conclusion, equipment OA&M data, remote upgrading, scheduled communication, etc. Some of this data is event triggered and requires a high priority for real-time communication while others may need a regular latency but broad bandwidth channel to fit their demands.

The energy application platform could be connection management platform (AKA IoT platform), master station of distribution automation system and master station of electric energy data acquire system. In thefuture, there might be more platforms that need to transfer data through the 5G network.

In general, the connections between the Smart Distribution Transformer Terminal and application platform are provided by 5G system, and the connections between energy end equipment and Smart Distribution Transformer Terminal may be provided by 5G system either. When they are 5G connections, about 300 ~ 500 energy end equipment are connected to a Smart Distribution Transformer Terminal. The average application layer packet data rate between the Smart Distribution Transformer Terminal and energy end equipment is less than 8Kbps, while the communication range is from 100m to 500m. In some cases, the data delivered to the Smart Distribution Transformer Terminal can be locally processed by the Terminal directly to improve working efficiency with the authorization of application platform.

These energy applications and different data flows in one application require different communication services and different safety & isolation protection according to the industry regulation. Thus

, the Smart Distribution Transformer Terminal is required to isolate these energy data according to different application demands.

5.8.2	Pre-Conditions

The energy company EE has a contract with Tele-Operator TT. TT will provide 5G communication service for EE’s energy services.

EE has deployed a lot of Smart Distribution Transformer Terminals which utilize 5G communication links to connect with multiple energy application platforms. In general, one Smart Distribution Transformer Terminal is deployed in one distribution transformer area.

In distribution transformer area A, 500 energy end equipments are connected with one Smart Distribution Transformer Terminal through 5G system.

In distribution transformer area B, the connections between the energy end equipment and a Smart Distributed Transformer Terminal is through non-3GPP technologies.

The energy application platform could be connection management platform (AKA IoT platform), master station of distribution automation system and master station of electric energy data acquire system. In the future, there might be more platforms that need to transfer data through this network.

EE configures different communication services demands and safety & isolation demands for different energy applications.

EE also deploys a management platform to operate and manage its Smart Distributed Transformer Terminals which may be up to millions in the platform management scope. The connections between them also can be supplied by 5G system and are required as permanent links once they are established. The heart-beat information is transmitted when there is no management data.

5.8.3	Service Flows

1. The 5G system gets the demands of communication and isolation to establish two 5G communication links between the Smart Distribution Transformer Terminal and the energy application platform. One link is required with high data rate to deliver data e.g. electrical analog data, meter reading data, topology relationship, decision-making information, edge computing conclusion, equipment OA&M data, remote upgrading, scheduled communication, etc. The other link is required with low latency and high stability to deliver data e.g. fault / alarming events, switch state variation, device abnormal changes, remote control operation, etc.

2. In distribution transformer area A, 5G system is required to establish communication links for 500 energy end equipment to connect with the Smart Distributed Transformer Terminal. Thus, the Smart Distributed Transformer Terminal works as a service relay or gateway.

4. The energy end equipment in area A and area B e.g. smart meters, cable head temperature sensors, power consumption concentrators, smoke detectors, smart RCDs, charging piles and phase change switches, collect related data and secured deliver the data them to Smart Distribution Transformer Terminal.

5. The Terminal continues to deliver the collected data and analysis / decision information to different energy application platforms through the two 5G communication links  with different isolation demands mentioned above..

- Some data e.g. energy consumption data in the distribution transformer, power line, and user point can be analysed by the Terminal and take some action e.g. adjust topology. Then the result data will be reported to related energy application platform.

- Some data is periodic collected and reported, e.g. energy quality data and energy equipment status data.

- Some data is event trigger and need to be reported in real time, e.g. the voltage, current, alarm data of each node in the low-voltage area.

6. The Smart Distributed Transformer Terminals management platform monitors all the working status of terminals and if needed, sends order to the terminal through the 5G communication link to maintain the Smart Distributed Transformer Terminal’s normal work.

5.8.4	Post-Conditions

The Smart Distribution Transformer Terminal are be managed by the management platform and works well.

The energy application platforms receive the collected data in time and with required isolation protection.

The communication links status also can be monitored by energy company EE.

5.8.5	Existing features partly or fully covering the use case functionality

The 5G system shall be able to provide suitable APIs for the energy application platform to monitor the quality of the communication link.

The 5G system shall be able to supply end to end unified quality of communication service for Smart Distribution Transformer Terminal, i.e. from the energy end equipment to energy application platforms.

22.261 clause 6.5.2, there is a related requirement:

Based on operator policy, the 5G network shall be able to support routing of data traffic between a UE attached to the network and an application in a Service Hosting Environment for specific services, modifying the path as needed when the UE moves during an active communication.

But only UE is not enough, because the The smart distribution transformer terminal may be deployed in gNB, UE relay or UE.

The 5G system shall be able to support permanent millions of communication links between Smart Distributed Transformer Terminals management platform and Smart Distributed Transformer Terminals under its management scope.

5.8.6	Potential New Requirements needed to support the use case

[PR 5.8.6 -1] When required by regulatory requirement, the 5G system shall be able to simultaneously supply multiple different isolation communication services for different energy applications.

NOTE: 	An isolation communication service implies that the entire supporting implementation and protocol stack that supports the communication service is both logically and physically separate and redundant to each other, in order to achieve increased effective service availability.

[PR 5.8.6 -2] The 5G system shall be able to support up to 500 communication links between the Smart Distribution Transformer Terminal simultaneously in one hand to connect with energy application platforms and on the other hand to connect with and energy end equipments with the communication distance from 100m to 500m in one distribution transformer area.

[PR 5.8.6 -3] The 5G system shall be able to support routing of data traffic between the Smart Distribution Transformer Terminal in the network and an application processing the data in a service hosting environment.

Note: The smart distribution transformer terminal is one kind of Grid terminal and may be deployed in network edge node.

[PR 5.8.6 -4] The 5G system shall be able to supply a method for the application layer to authenticate and authorize communication network element used for the Smart Distribution Transformer Terminal.