3GPP TSG-RAN WG4 Meeting #106	 R4-2302916

Athens Greece, 27th Feb ‒ 3rd Mar, 2023

Title: 	WF for MU budget on Receiver side

Agenda Item:	6.2.3.3

Source: 	Keysight

Document for:	Approval

# Rx EIS measurement

Sub-topic 1-3 RX: EIS measurement

- Agreement:

  - Use power sensor as monitoring and controlling equipment of signal generator (with or without up converter) to reduce generator MU.

# TE MU Excel sheet, RX inband

## MUpa contributor (Uncertainty due to use of PA)

With assumption of placing power splitter after PA output for power monitoring and controlling by PM, it is possible to make MUpa as 0 dB.

Agreement: MUpa 0 dB

## B2-5 contributor (Mismatch of transmit chain (i.e. between transmitting measurement antenna and BS))

Agreement: B2-5: 0.6 dB

## MU Excel sheet

MU excel sheets for EIS and other Rx tests are attached for reference.

Reference

[1] R4-2302873, “Ad-hoc minutes for FR2-2 MU”, Huawei

[2] R4-2302266, “FR2-2 BS conformance test system, Test system consideration”, Keysight