3GPP TSG-RAN4 Meeting #108	R4-2313775

# Toulouse , France, 21st – 25th August 2023

Agenda item:	8.15.2.1

Source:	Keysight Technologies

Title:	On Phase Impacts on Single-Layer UL MIMO TRP Measurements and 2Tx Test Mode

Document for:	Approval

# Introduction

This contribution is addressing how phase shift impacts Single-layer UL-MIMO TRP using simulations and our feedback on the previously proposed 2Tx test mode.

# Simulation Assumptions

This contribution uses the FS antenna patterns from [2][3][4] as a baseline and assumes a UE with two identical but rotated and offset patterns, ANT1 and ANT2, as illustrated in schematically in Figure 1. It should be noted that the patterns from [2][3][4] needed some coordinate system transformations as the underlying coordinate systems were different than the standard OTA coordinate system for smartphones as illustrated in Figure 1. A simple dipole pattern was added for simplicity and for validation purposes as well [5].

Figure 1: UE with identical but shifted and rotated antennas ANT1 and ANT2.

Each of the smartphone simulations assumed the antenna placed either in the top left (long) side [2] or top left corner [3][4]; the shifted and rotated TxD/UL-MIMO antennas in the bottom right are mirror images with respect to the centre of the DUT/centre of coordinate system, as illustrated in Figure 2. The antenna patterns (assumed for ANT1 location) are visualized for all patterns considered [2][3][4] in Figure 3.

Figure 2: Illustration of original simulated antenna locations (ANT1) and the mirror images of the TxD/UL-MIMO antenna (ANT2), left: assumption from [2], right assumption from [3][4].

It should be noted that the antenna patterns are radiated at full power, i.e., no scaling of powers for UL transmission was taken into account.

Figure 3: ANT1 antenna patterns considered from [2][3][4]; in order (from top left to bottom right): A, B, C, D, E, n78-FS, dipole.

The finite range length and subsequent path-loss differences were not taken into account in the results here but were observed to have just a minor impact; however, the differences in phase progression due to antenna offsets between the centre of the respective antennas and the test/grid point were taken into account in these simulations.

Since the nature of the phase shifts was never formally documented and/or specified, this contribution is assuming phase shifts which are outlined in some more detail below qualitatively.

The simulations yielded antenna patterns P(q,f), i.e.,

P(θ,ϕ)=G(θ,ϕ)2

with the assumption

G=g(θ,ϕ)ej0

In the simulations, the antenna patterns P1 (ANT1) and P2 (ANT2) are generally considered the same but with P2 rotated by 180° around the x axis with respect to P1. When applying the offsets of the antennas, the term g(θ,ϕ) becomes a complex number and is a function of the offsets in l and the assumed antenna patterns P.

The simulations assume random phase offsets between ANT1 and ANT2, i.e.,

G1=g1,offsetθ,ϕejα1θ,ϕ

and

G2=g2,offsetθ,ϕejα2θ,ϕ

where α1θ,ϕ and α2θ,ϕ are each randomly generated (between 0 and 2p) for each grid point, i.e., the phases were assumed to be different and time-varying with completely random distribution, i.e., no memory effect. Whether this is a realistic assumption is questionable but given the lack of any information on the nature of the phase effects, this seemed to be a suitable assumption of a varying phase impacts to investigate. The simulated results are for the TRP impact, i.e., the measured TRP of the combined single-layer UL pattern subtracted by the sum of TRPs of the individual patterns. All TRP impact simulations assumed a Dq=Df=15° TRP measurement grid, i.e., the very fine simulated antenna patterns with Dq=Df=1° were downsampled/interpolated to the classical TRP measurement grid.

It should be highlighted that these simulations and underlying assumptions are very rudimentary as they consider total components of the fields/patterns only, no coupling, no electromagnetic interactions, etc.

# Single-layer UL-MIMO Simulations with Random Phase Shifts Applied to ANT1 and ANT2

This section focuses on the simulations for single-layer UL MIMO while taking the TPMI scan/multi-TPMI based test methods into account. These analyses only focus on the antennas placed in opposite corners as illustrated in Figure 2.

Some specific simulation parameters for each pattern are summarized in Table 1.

Table 1: Simulation Parameters for Fixed Phase Shift between ANT1 and ANT2

| Case | f [GHz] | Offset ANT1 (x, y, z) [mm] | Offset ANT1 (x, y, z) [mm] | Offset ANT1 (x, y, z) [l] | Offset ANT1 (x, y, z) [l] | Pattern Rotation of ANT2 w.r.t. ANT1 |
| --- | --- | --- | --- | --- | --- | --- |
| Offset Antennas (Opposite Corners) | 0.7 | (0, -35, 75) | (0, 35, -75) | (0, -0.08, 0.18) | (0, 0.08, -0.18) | Rotated around x by 180° |

For the simulations, the combined patterns based on the offsets, the pattern rotation, and the selected TPMI had to be determined. EIRP was recorded separately for TPMI indices 2 through 5, i.e., an additional fixed phase shift of 180° (TPMI3), 90° (TPMI4), -90° (TPMI5) is applied to ANT2.

Table 6.3.1.5-1: Precoding matrix for single-layer transmission using two antenna ports. TPMI index; (ordered from left to right in increasing order of TPMI index). 0 – 5; -; -.

The combined patterns from the offset, rotated antenna patterns (ANT1+ANT2) for different TPMIs (phase offsets) are shown in Figure 4 through Figure 7 for different frequencies and measurement grid densities. It can be observed that single-layer UL MIMO TRP testing might require very fine measurement grids for mid to high frequency bands. The same conclusion should be applicable to TxD testing as well.

Observation 1: For small antenna offsets, e.g., smartphone UE, and low frequencies, no significant and highly directive pattern lobing can be observed and current TRP measurement grids might be applicable for Single-layer UL-MIMO and TxD testing

Observation 2: For small antenna offsets, e.g., smartphone UE, and frequencies in mid to high bands, significant and highly directive pattern lobing can be observed and current TRP measurement grids are likely not applicable for single-layer UL-MIMO and TxD testing.

Proposal 1: Study the need for finer measurement grids for TxD and single-layer UL MIMO TRP testing (including the corresponding increase in test time for multi-TPMI based test methods)

Figure 4: Combined, single-layer UL MIMO patterns for the ‘n78’ FS antenna pattern [2] with TPMI 2-5. Offsets are listed in Table 1. Frequency is f=700 MHz with a grid using Dq=Df=1°.

Figure 5: Combined, single-layer UL MIMO patterns for the ‘n78’ FS antenna pattern [2] with TPMI 2-5. Offsets are listed in Table 1. Frequency is f=700 MHz with a grid using Dq=Df=15°.

Figure 6: Combined, single-layer UL MIMO patterns for the ‘n78’ FS antenna pattern [2] with TPMI 2-5. Offsets are listed in Table 1. Frequency is f=3.5 GHz with a grid using Dq=Df=1°.

Figure 7: Combined, single-layer UL MIMO patterns for the ‘n78’ FS antenna pattern [2] with TPMI 2-5. Offsets are listed in Table 1. Frequency is f=3.5 GHz with a grid using Dq=Df=15°.

A total of 100k simulations were performed; each simulation applied different random phase shifts to each antenna (ANT1 and ANT2) for each EIRP grid point. In [1], some options for the multi-TPMI based test method were discussed with no clear endorsement for any option.

Issue 1-2-2: For fully Coherent UE support multiple TPMI index 2~5 - Proposals - Option 1: multi-TPMI based test method - Option 1a: measure TRP under each TPMI, and then average TRPs as final performance metric. FFS TPMI index: TPMI 2~5 or 2&3 or 4&5; - FFS the naming of the performance metric, e.g. keep current TRPaverage or new term as combined-TRP - Option 1b: measure TRP under each TPMI with index 2~5, no further processing. How to define requirement is FFS. FFS TPMI index: TPMI 2~5 or 2&3 or 4&5; - Option 1c: measure and record best EIRP at each test point (swept over all applicable TPMIs at each measurement grid), and then integrate all the measured best EIRPs into a TRP-like performance metric. TPMI index 2~5; - FFS the naming of the performance metric, e.g. keep current TRPaverage or new term as FR1 averaged spherical coverage; - Option 2: single-TPMI based test method - Option 2a: measure TRP under TPMI index 2, as the final performance metric; - Option 2b: measure TRP under one of TPMI index within 3~5, as the final performance metric; Agreement: - RAN4 target to finalize this issue on TPMI index selection for single layer UL-MIMO in August RAN4 meeting - Encourage companies to bring more analysis on test time and performance impact with above list candidate options.

The mean TRP impacts, i.e., the TRP assessed with any of the considered multi-TPMI based test methods – the sum of the individual TRPs of ANT1 and ANT2, from the 100k simulations are tabulated in Table 2.

Table 2: Single-layer UL-MIMO TRP Impact with 100k random phase shifts applied to ANT1 and ANT2 for different TPMI Scans (Options 1a and 1c [1])

| Case | Antenna Pattern(s) | Mean TRP Impact [dB] with ‘TPMI Scan (Max)’/Option 1c | Mean TRP Impact [dB] with ‘TPMI Scan (Avg)’/Option 1a |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | 2-5 | 2-5 | 2&3 | 4&5 |
| Opposite Corners (f=0.7 GHz) | A | 2.49 | 0.00 | 0.00 | 0.00 |
|  | B | 2.61 | 0.00 | 0.00 | 0.00 |
|  | C | 2.62 | 0.00 | 0.00 | 0.00 |
|  | D | 2.64 | 0.00 | 0.00 | 0.00 |
|  | E | 2.58 | 0.00 | 0.00 | 0.00 |
|  | n78 | 2.67 | 0.00 | 0.00 | 0.00 |
|  | Dipole | 2.79 | 0.00 | 0.00 | 0.00 |

The table includes the ‘TPMI Scan (Max)’ where for each grid point, the best EIRP (from the set of TPMI 2 through 5 EIRPs) was selected (Option 1c). Also presented are the TRP averages ‘TPMI Scan (Avg 2-5)’, ‘TPMI Scan (Avg 2-3)’ and ‘TPMI Scan (Avg 4-5)’ which are based on the average TRPs of the respective 4 or 2 TPMI TRPs (Option 1a). In [5], they were shown to be equivalent

If we take the average of 2TX TRP values with TPMI index 2 and 3, it can be calculated as follows: Similarly, the average of 2TX TRP values with TPMI index 4 and 5 can also be calculated as follows: From equation (7) and (8), we can further get the average of 2TX TRP values with TPMI index 2 to 5 as:

Any of the ‘TPMI Scan (Avg)’ choices (Option 1a [1]) are found to yield the same distribution (infinitesimal width) with no TRP impact which is confirming the findings in [5]. It can therefore be concluded that the average of only two TPMI TRP measurements (2&3 or 4&5) are sufficient to determine TRP for single-layer UL MIMO with no TRP impact due to random phases.

Observation 3: The average of only two TPMI TRP measurements (2&3 or 4&5), Option 1a, seems sufficient to determine TRP for single-layer UL MIMO with no TRP impact due to random phases

The selection of the best EIRP per grid point from each of the 4 TPMI measurements (2 through 5), Option 1c, consistently yields a measured TRP that exceeds the sum of TRPs for each individual (standalone) antenna by more than 2 dB.

Observation 4: The selection of the best EIRP per grid point from each of the 4 TPMI measurements (2 through 5), Option 1c, consistently yields a measured TRP that is exceeding the sum of TRPs of each individual (standalone) antenna.

As a test equipment manufacturer, there is no strong preference towards any of the considered multi-TPMI based test methods. The adoption of a new test metric such as Option 1c (probably more so than Option 1a) needs to be carefully studied and the applicability to other EIRP/TRP test cases in 3GPP and other SDOs, e.g., spurious emissions, might have to be considered.

Proposal 2: Industry to discuss the applicability of multi-TPMI based test methods/metrics (Option 1c in particular) to other EIRP/TRP test cases.

One final thought regarding Option 1c, i.e., the TPMI scan which leverages the best EIRP results from each TPMI measurement and thus reports a higher TRP than the sum of TPMI0 and TPMI1 TRPs, is that it does not seem to correspond to any actual procedure in the field. The real-world procedures available to real networks, i.e., UE sends periodic SRS without any precoding applied with gNBs determining and reporting back the best TPMIs, could potentially yield similar (optimal) TPMI selection but is implementation specific.

# Feedback on TxD Test Modes

The WF [1] suggested a test mode as a potential option for TxD testing. The test mode option suggests to “resolve/stabilize” phase variations.

- Proposals - Option 1: A new 2Tx test mode can resolve/stabilize potential 2Tx-based TxD phase variation.

More feedback from OEMs/chipset vendors would be helpful on the nature of the phase variations and whether the development of the test mode is strictly applicable to OEMs/chipset vendors and/or whether such test mode needs involvement from TE vendors.

Proposal 3: Regarding the 2Tx test mode to resolve/stabilize potential 2Tx-based TxD phase variations, feedback from OEMs/chipset vendors would be helpful 
- on the nature of the phase variations, 
- whether the development of the test mode is strictly applicable to OEMs/chipset vendors and/or 
- whether such test mode needs involvement from TE vendors

# Conclusion

The following observations and conclusions were made in this contribution.

Observation 1: For small antenna offsets, e.g., smartphone UE, and low frequencies, no significant and highly directive pattern lobing can be observed and current TRP measurement grids might be applicable for Single-layer UL-MIMO and TxD testing

Observation 2: For small antenna offsets, e.g., smartphone UE, and frequencies in mid to high bands, significant and highly directive pattern lobing can be observed and current TRP measurement grids are likely not applicable for single-layer UL-MIMO and TxD testing.

Observation 3: The average of only two TPMI TRP measurements (2&3 or 4&5), Option 1a, seems sufficient to determine TRP for single-layer UL MIMO with no TRP impact due to random phases

Observation 4: The selection of the best EIRP per grid point from each of the 4 TPMI measurements (2 through 5), Option 1c, consistently yields a measured TRP that is exceeding the sum of TRPs of each individual (standalone) antenna.

Proposal 1: Study the need for finer measurement grids for TxD and single-layer UL MIMO TRP testing (including the corresponding increase in test time for multi-TPMI based test methods)

Proposal 2: Industry to discuss the applicability of multi-TPMI based test methods/metrics (Option 1c in particular) to other EIRP/TRP test cases.

Proposal 3: Regarding the 2Tx test mode to resolve/stabilize potential 2Tx-based TxD phase variations, feedback from OEMs/chipset vendors would be helpful 
- on the nature of the phase variations, 
- whether the development of the test mode is strictly applicable to OEMs/chipset vendors and/or 
- whether such test mode needs involvement from TE vendors

# References

- R4-2309901, WF for Rel-18 TRP/TRS WI, vivo, 3GPP TSG-RAN WG4 Meeting #107, May 2023

- R4-2218848, Antenna patterns for TRP and TRS measurement grid analysis, vivo, 3GPP TSG-RAN4 Meeting #105, November 2022

- OTAWIoT_2022_011_004 V2, 3-6 GHz Radiation Patterns, Wireless Research Center of North Carolina
This is a CTIA Certification Program Working Group Document available to CTIA Certification Program Working Group members

- R4-2302519, Test Time Reduction using Coarser TRP/TRS Measurement Grids for above and below 3 GHz, Keysight Technologies, 3GPP TSG-RAN4 Meeting #106, March 2023

- R4-2305701, Further discussion on FR1 1 Layer UL-MIMO 2Tx SISO OTA TRP, MediaTek Inc, vivo, CAICT, 3GPP TSG-RAN WG4 Meeting #106bis-e, April 2023