3GPP TSG-RAN WG4 Meeting #110	R4-2400032
Athens, GR, 26 Feb – 01 Mar, 2024

Agenda item:	8.12.2

Source:	CAICT

Title:	CDL-C UMa channel model validation results for band n1

Document for:	Discussion

1	Introduction

At the last meeting, RAN4 discussed the issues on 2Rx/4Rx UEs at band n1 and achieved the following agreements [1]:

Issue 1-4-1: Which MIMO OTA requirements should be defined for band n1 Agreement: - RAN4 should define 4x4 MIMO OTA requirements for 4Rx UE first in Rel-18, considering 4Rx UEs at band n1 is the majority on the market and mandatory in some countries/regions. - Not to define 2x2 MIMO OTA requirements for 4Rx UE. - Not to perform measurement campaign for 2Rx UE. - Study and investigate an offset between FR1 MIMO OTA performance for 4Rx and 2Rx UEs at band n1

Thus, channel model validation for 4x4 MIMO OTA at band n1, i.e., CDL-C UMa channel model, is required. The framework for FR1 MIMO OTA was updated accordingly and approved in [2]:

- Channel Model Validation … - Channel model: as specified in Annex C.1 of TS 38.151 - For bands n28, n5/n8: FR1 UMi CDL-C (2x2 MIMO) - For band n1: FR1 UMa CDL-C (4x4 MIMO) …

In this paper, we present the channel model validation results of FR1 MIMO OTA test setup in our lab for CDL-C UMa at band n1.

2	Discussion

The channel model validation results are presented in Figs. 1~3 and Tables 2~3. The measurement setup, test procedures, and instrument settings are according to TS 38.151. The measurement setup includes ETS-Lindgren 16-probe MIMO OTA chamber and Spirent Vertex channel emulator.

The following parameters of CDL-C UMa channel model have been validated at the required test frequencies:

Table 1. The validated CDL-C UMa channel model parameters

| Band | Test frequency | Parameters | Status |
| --- | --- | --- | --- |
| n1 | 2132.5MHz | Temporal correlation | Validated |
|  |  | PDP | Validated |
|  |  | Spatial correlation | Validated |
|  |  | Cross-polarization | Validated |
|  | 2140MHz | Power validation | Validated |

(a)                                                                            (b)

Fig. 1  Temporal correlation measurement results and reference curves for CDL-C UMa, fc = 2132.5MHz: (a) Beam 1, (b) Beam 2.

(a)                                                                            (b)

Fig. 2  PDP measurement results and reference values for CDL-C UMa, fc = 2132.5MHz: (a) Beam 1, (b) Beam 2.

Fig. 3  Spatial correlation measurement results and reference curves for CDL-C UMa, fc = 2132.5MHz

Table 2. Cross-polarization validation results for CDL-C UMa

| Frequency | Beam | Reference | Measurement result | Pass/fail limit |
| --- | --- | --- | --- | --- |
| fc = 2132.5 MHz | Beam 1 | Input 1+2: V/H = 0 dB | 0.59 dB | ±1 dB |
|  | Beam 2 | Input 3+4: V/H = 0 dB | -0.14 dB |  |

Table 3. Power validation results for CDL-C UMa (Unit: dBm/15kHz)

| Frequency | Band | Measured V power | Measured H power | Measured total power | Expected | Delta | Pass/fail limit |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2140MHz | n1 | -83.7348 | -82.9744 | -80.3277 | -80 | -0.32768 | ±1.5 dB |

It can be seen that all the validation measurement results fulfilled the pass/fail limits.

Observation 1: CAICT has completed a full set of MIMO OTA channel model validation for CDL-C UMa at band n1. The following characteristics have been validated: TCF, SCF, PDP, Cross-polarization, and Power validation.

3	Conclusion

In this paper, we present a full set of channel model validation results of FR1 MIMO OTA test setup in our lab for CDL-C UMa at band n1.

Observation 1: CAICT has completed a full set of MIMO OTA channel model validation for CDL-C UMa at band n1. The following characteristics have been validated: TCF, SCF, PDP, Cross-polarization, and Power validation.

References

- R4-2321085, “WF on [109][336] NR_MIMO_OTA_enh”, CAICT, 3GPP RAN4#109, Nov. 2023.

- R4-2321137, “Updated Framework and time plan for FR1 MIMO OTA performance requirements development (Nov 2023)”, CAICT, 3GPP RAN4#109, Nov. 2023.