TSG-RAN Working Group 4 (Radio) meeting #86	R4-1802761

Athens, Greece, 26th February – 2nd March 2018

Source:	Ericsson

Title:	TP for draft CR 37.843: CATR Test Method Procedure for Frequency Error

Agenda item:	6.27.3.1.2

Document for:	Approval

# Introduction

This contribution presents a test procedure for Frequency Error measurement over the air in a Compact Antenna Test Range which maybe is a method for conformance testing in [1].

# Discussion

Frequency error is the measure of the difference between the actual BS transmit frequency and the assigned frequency. The same source shall be used for RF frequency and data clock generation.

According to the core requirements defined in TR37.843[2], the frequency error will have a ‘flat’ response in the spatial domain, i.e. OTA frequency error will not depend on the selection of the measurement point within beam’s compliance directions set. It is only necessary to show the conference in a single direction. It is suggested to test at the same time as EVM testing the ‘reference direction’ of the OTA coverage range.

For conformance testing purposes, the frequency error is tested together with EVM test at the maximum and minimum power settings to comply with the total power dynamic range requirement.

The reference direction of declared beam properties is applicable for OTA Frequency Error test.

[Start of text proposal]

### 10.2.4	Test Method for Frequency Error

10.2.4.1	Measurement Procedure for CATR

Figure 10.2.4.1-1	: CATR measurement system setup for Frequency Error

10.2.4.2	Test method limitations and scope

The maximum size of the DUT is a chamber restriction that would affect the quality of the quiet zone. For larger DUT sizes larger size chambers should be considered such that the uncertainty of the quiet zone is considered.

10.2.4.3	Procedure

# Stage 1 – Calibration:

The calibration measurement is done by using a reference antenna (SGH used in Figure 10.2.4.3-1) with known efficiency or gain values. In the calibration measurement the reference antenna is measured in the same place as the DUT, and the attenuation of the complete transmission path (C↔A, as in Figure 10.2.4.3-1) from the DUT to the measurement receiver is calibrated out. Figure 10.2.4.3-1presents a setup of a typical compact antenna test range.

Figure 10.2.4.3-1: CATR calibration system setup.

Calibration procedure:

1)	Path loss calibration C→A:

a)	Measure SGH (or other calibrated reference antenna) reflection coefficient separately at the antenna's connector with a network analyser (or equivalent measurement equipment) to obtain ΓSGH.

b)	Measure cable loss from point C to input of SGH, call this LC↔SGH which is the equivalent of 20log|S21| from the use of a network analyser.

c)	Calculate the combined total path loss from C→A by using the following expression:

-	LSGHcal = LC,SGH + 10log(1 - |ΓSGH|2) - GSGH;

-	where10log1-ΓSGH2  10log(1 - |ΓSGH|2)  is the compensation for SGH connector return loss, GSGH  is the known gain of the reference SGH.

2)	Connect SGH and C↔A cable.

3)	To remove polarization(s) mismatch between range antenna (labelled as feeder antenna in diagram) and SGH use positions to position the SGH in the beam peak direction of range antenna.

4)	Measure path loss C→B with network analyzer LC→B = 20log|S21|.

5)  Calculate the test path loss compensation factor.  This is the total path loss between A↔B using the results from step 1c and 4. L = LSGHcal LSGHcal  - LC→B.

Where ΓSGH is the reflection coefficient (or mismatch) seen at the SGH connector (S11 with a network analyzer).

# Stage 2 - Measurement:

As the frequency error is tested together with EVM, the measurement procedure is same with EVM.

1) Align DUT with beam peak direction of range antenna.

2) Configure TX branch and carrier at a time according to the manufacturer's declared rated output power.

3) Set the AAS BS to transmit the test signal according to E-TM3.1 at 5 MHz bandwidth configuration.

4) Measure frequency error of each carrier arriving at the measurement equipment (such as a spectrum analyzer or equivalent instrument) denoted in figure 10.2.4.1-1.

5) Repeat steps 3-4 for all conformance test beam direction pairs as described in 3GPP TS 37.145-2 [1], subclause 6.2.

6) Repeat steps 3-5 for E-TM3.2, E-TM3.3 and E-TM2.

Note: all the discussions above are based on the measurement pre-condition of reference clock synchronized between measurement system with RF frequency signal denoted in figure 10.2.4.1-1 denoted in figure 10.2.4.1-1.

[End of text proposal]

# Reference

[1] 	TS 37.145-2, Active Antenna System (AAS) Base Station (BS) conformance testing; Part 2: radiated conformance testing

[2] 	TS 37.843, Radio Frequency (RF) requirement background for Active Antenna System (AAS) Base Station (BS) radiated requirements